Consumers Energy Company

WEQ Annual Plan Items 5.a.2 (R08004) and 5.i (R09011) Comments

- Power Plant Gas Coordinator Facility (PPGC Facility) – This definition is too broad and not applicable to Consumers Energy’s actions, particularly if a third party is involved. The third party would not have direct control.

- Power Plant Gas Coordinator (PPGC) – This definition is also too broad. For example, it could describe Consumers Energy or a third party. Under the current definition the RED items are physically done by a third party and the GREEN are the responsibility of Consumers Energy

The PPGC performs a number of coordinated activities, including, but not limited to, power plant operations, unit dispatch, natural gas procurement and/or gas transportation arrangements.

As you can see, this definition creates more questions than answers.

- Transportation Service Provider - This definition also creates more questions for Consumers Energy than it provides answers.  As an example, Pipeline Company A physically owns the gas transmission line that serves our Generation plant.  Pipeline Company A also provides gas transportation services via tariff to its customers.  Company B, acting as our Gas Management Services provider, obtains gas transportation service from Company A so it can delivery gas to the Generation plant and sell it to Consumers Energy.  So, it is unclear as written if Transportation Service Provider is Pipeline Company A, in our case, or Company B.

Overall, there needs to be more detail to these definitions to better define what they mean, or add some new definitions like "Gas Transportation System Owner" to perhaps contrast this definition versus Transportation Service Provider.