The following formal comments for Annual Plan item 5.b, NAESB Glossary of Terms are respectfully submitted by the following IGO/RTOs: ERCOT, MISO, NE-ISO, PJM and SPP.

Overall Comments

The review and reconciliation for the NAESB Glossary of Terms with the NERC Glossary of Terms were performed using the NERC definitions published as of 4/2008.  NERC subsequently published a revised glossary in April, 2009.  The recommendation as distributed for comment was based on the NERC definitions as of 4/2008 status.  A review of the 4/2009 definitions should be completed to assure that NAESB has incorporated the most updated and correct definitions that are available.

Specific comments

1 - It is recommended to revise the proposed definition for Constrained Flowgate.  The revised wording is as follows:

“A Flowgate that is approaching, is at, or is beyond its rating.”

2 - It is recommended to revise the proposed definition of Constraint.  The revised wording is as follows:

“A Constrained Facility or Constrained Flowgate.”

3 - The proposed definition for Region presently included in the recommendation is:

“One of the regional entities that work with NERC to improve the reliability of the bulk power system.”

This is the only NAESB definition that uses the term bulk power system.  When relevant, other definitions use the defined term Bulk Electric System.  It is recommended to revise the proposed definition as follows:

“One of the regional entities that work with NERC to improve the reliability of the Bulk Electric System.”

This change would also be consistent with the NERC Glossary.  While the NERC Glossary does not contain the term Region, the glossary does contain the term Regional Reliability Organization and Bulk Electric System is used in the definition.

Additionally, NAESB has removed the term ‘regional entity’ in the latest recommendation.  It has been replaced with the term ‘region’ which includes the term ‘regional entity.’  It is recommend that NAESB define the term ‘regional entity.’