FORMAL COMMENTS

Quadrant:	Wholesale Electric Quadrant

Recommendation: 	2009 AP Item 5.b – Modify NAESB definitions to address internal inconsistencies and inconsistencies with the NERC glossary

Submitted By:	Standards Review Subcommittee

Date:	December 15, 2009

Under the Standards Review Subcommittee (SRS) Scope of Work, which was approved by the SRS on March 6, 2008, the SRS agreed to review recommendations and if subcommittee deemed appropriate, they would submit advisory comment to the Executive Committee for consideration.  As stated in the Scope of Work these comments are “not intended to change the scope of the Business Practices or recommendation, but to provide consistency and uniformity across all WEQ Business Practices.”

Overall Comments

The review and reconciliation for the NAESB Glossary of Terms with the NERC Glossary of Terms were performed using the NERC definitions published as of 4/2008.  NERC subsequently published a revised glossary in April, 2009.  The recommendation as distributed for comment was based on the NERC definitions as of 4/2008 status.  A review of the 4/2009 definitions should be completed to assure that NAESB has incorporated the most updated and correct definitions that are available.

Specific Comments

Item 1

The proposed definition for Constraint presently included in the recommendation is:

“A limitation placed on Interchange Transactions that flow over a Constrained Facility or Flowgate.”

It is recommended to revise the proposed definition of Constraint since it is not limited to Interchange Transactions.  The revised wording is as follows:

“A Constrained Facility or Constrained Flowgate.”

Item 2:

The proposed definition for Region presently included in the recommendation is:

“One of the regional entities that work with NERC to improve the reliability of the bulk power system.”

The SRS has identified that the use of the phrase “Region” is largely unnecessary in the NAESB Business Practices.  The only place this capitalized term appears to be relevant is in the WEQ-003 and WEQ-007.  WEQ-003 refers to region in some of the data elements for OASIS, and WEQ-007 is used in a reference to obtaining approval of alternate Inadvertent Payback methods (which is likely no longer required, provided entities are still required to comply with relevant NERC reliability standards).  As such, the SRS proposes eliminating the definition of “Region” from the NAESB glossary, and eliminating WEQ-007-2, and lowercase the term “region” in WEQ-003.