1.  RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

|  | Accept as requested | X | Change to Existing Practice |
| --- | --- | --- | --- |
| X | Accept as modified below |  | Status Quo |
|  | Decline |  |  |

2.  TYPE OF DEVELOPMENT/MAINTENANCE

| Per Request: |  | Per Recommendation: |  |
| --- | --- | --- | --- |
|  | Initiation | X | Initiation |
| X | Modification | X | Modification |
|  | Interpretation |  | Interpretation |
|  | Withdrawal |  | Withdrawal |
| X | Principle | X | Principle |
| X | Definition | X | Definition |
| X | Business Practice Standard | X | Business Practice Standard |
| X | Document | X | Document |
|  | Data Element |  | Data Element |
|  | Code Value |  | Code Value |
|  | X12 Implementation Guide |  | X12 Implementation Guide |
| X | Business Process Documentation | X | Business Process Documentation |

- 3.  RECOMMENDATION

- SUMMARY:

The standards support the measurement and verification characteristics of Demand Response products and services administered for application in the wholesale market and may be the subject of individual tariffs filed with and approved by the Federal Energy Regulatory Commission.

- Recommended Standards:

WEQ-015 Business Practices for Wholesale Electricity Demand Response Programs - Please see attached documentation.

# Business Practices for Measurement and Verification of Wholesale Electricity Demand Response

WEQ.000-1 Definition of Terms

Adjustment Window: The period of time prior to a Demand Response Event used for calculating a Baseline adjustment.

# Advance Notification(s): One or more communications to Demand Resources of an impending Demand Response Event in advance of the actual event.

After-the-Fact Metering: Interval meter data used to measure Demand Response.  May not apply to Demand Resources under Baseline Type II (Non-Interval Meter).

Aggregated Demand Resource: A group of independent Load facilities that provide Demand Response services as a single Demand Resource.

Baseline: A method of estimating the electricity that would have been used by a Customer or Demand Resource in the absence of a Demand Response Event. It may be calculated using interval metering (Baseline Type 1) and/or statistical sampling (Baseline type II). The figure below illustrates the concept of Baseline relative to a Demand Response Event.

Baseline Adjustment: A modification to a Baseline to reflect actual conditions immediately prior to or during a Demand Response Event to provide a better estimate of the energy the Demand Resource would have used but for the Demand Response Event. The adjustments may include but are not limited to weather conditions, near real time event facility Load, current Demand Resource operational information, or other parameters based on the System Operator’s requirements.

Baseline Type-I (Interval Metered): A Baseline performance evaluation methodology based on a Demand Resource’s historical interval meter data which may also include other variables such as weather and calendar data.

Baseline Type-II (Non-Interval Metered): A Baseline performance evaluation methodology that uses statistical sampling to estimate the electricity usage of an Aggregated Demand Resource where interval metering is not available on the entire population.

Baseline Window: A period of time preceding and optionally following a Demand Response Event over which electricity usage data is collected for the purpose of establishing a Baseline.  The applicability of this term is limited to Meter Before/Meter After, and Baseline Type-I and Type-II.

Capacity Service: A type of Demand Response service in which Demand Resources are obligated to control demand over a defined period of time measured in MW.

Demand: The rate at which electric energy is delivered to or by a system or part of a system, generally expressed in kilowatts or megawatts, at a given instant or averaged over any designated interval of time; and the rate at which energy is being used by the customer  (NERC Definition).

Demand Reduction Value: Measurement of reduced electricity usage by a Demand Resource during a Demand Response Event.

Demand Resource: A Load or aggregation of Loads capable of providing measureable and verifiable Demand Response.

Demand Resource Availability: The potential Demand Reduction Value available to be dispatched for a Demand Response Event.

Demand Response: A temporary change in electricity usage by a Demand Resource in response to market or reliability conditions.  For purposes of these standards, Demand Response does not include energy efficiency or permanent Load reduction.

Demand Response Event: A period of time defined by the System Operator, including notifications, deadlines, and transitions, during which Demand Resources provide Demand Response.  All notifications, deadlines, and transitions may not be not applicable to all Demand Response products or services.

Demand Response Provider: The entity that is responsible for delivering Demand Response.

Deployment: The time at which a Demand Resource begins reducing Demand on the system in response to an instruction.

Deployment Period: The time in a Demand Response Event beginning with the Deployment and ending with the Release/Recall.

Energy Service: A type of Demand Response service in which a Demand Resource provides a quantity of electricity measured in MWhs.

Governing Documents:    Documents that determine the interactions between a System Operator and other parties, including but not limited to, applicable law, regulatory documents (e.g., tariffs, rules, regulations), contractual agreements, operational manuals, and other relevant models and operational procedures.

Highly-Variable Load: A Load with a fluctuating or unpredictable electricity usage pattern.

Load: An end-use device or customer that receives power from the electric system (NERC Definition).

Maximum Base Load: A performance evaluation methodology based solely on a Demand Resource’s ability to maintain its electricity usage at or below a specified level during a Demand Response Event.

Meter Before / Meter After: A performance evaluation methodology where electricity Demand over a prescribed period of time prior to Deployment is compared to similar readings during the Sustained Response Period.

Meter Data Recording Interval: The time between electricity meter usage recordings.

Meter Data Reporting Deadline: The maximum allowed time from the end of a Demand Response Event (Normal Operations) to the time when meter data is required to be submitted for performance evaluation and settlement.  The Meter Data Reporting Deadline may be either relative (a number of hours/days after Normal Operations) or fixed (a fixed calendar time, such as end-of-month).

Metering Generator Output: A performance evaluation methodology in which the Demand Reduction Value is based on the output of a generator located behind the Demand Resource’s revenue meter.

Normal Operations: The time following Release/Recall at which a System Operator may require a Demand Resource to have returned its Load usage to normal levels, and to be available again for Deployment.

Performance Window: The period of time in a Demand Response Event analyzed by the System Operator to measure and verify the Demand Reduction Value for a Demand Resource.

Ramp Period: The time between Deployment and Reduction Deadline, representing the period of time over which a Demand Resource is expected to achieve its change in Demand.

Ramp Rate: The rate, expressed in megawatts per minute, that a generator changes its output or a Demand Resource changes its Load.

Recovery Period: The time between Release/Recall and Normal Operations, representing the window over which Demand Resources are required to return to their normal Load.

Reduction Deadline: The time at the end of the Ramp Period when a Demand Resource is required to have met its Demand Reduction Value obligation.

Regulation Service: A type of Demand Response service in which a Demand Resource increases and decreases Load in response to real-time signals from the System Operator.  Demand Resources providing Regulation Service are subject to dispatch continuously during a commitment period.  Provision of Regulation Service does not correlate to the time periods, deadlines and transitions in the Demand Response Event definition.

Release/Recall: The time when the System Operator specifies a Deployment Period has ended or will end.

Reserve Service: A type of Demand Response service in which Demand Resources are obligated to be available to provide Demand reduction upon deployment by the System Operator, based on reserve capacity requirements that are established to meet applicable reliability standards.

Sustained Response Period: The period of time between Reduction Deadline and Release/Recall over which a Demand Resource is required to deliver its obligated Demand Reduction Value.

System Operator: A System Operator is a Balancing Authority, Transmission Operator, or Reliability Coordinator responsible for monitoring and controlling an electric system in real time. (Based on NERC definitions)

Telemetry: Telemetry refers to equipment providing communication signals between a Demand Resource or Demand Response Provider and the System Operator.

Telemetry Interval:  The unit of time between communication of telemetered data.

Validation, Editing and Estimation:  The process of confirming the accuracy of raw meter data and, if necessary, replacing corrupt or missing data.  VEE guidelines are published in the Edison Electric Institute’s Uniform Business Practices for Unbundled Electricity Metering.

Introduction

1.	Measurement and Verification Standards

These Measurement and Verification (M&V) standards are intended to facilitate Demand Response in wholesale electricity markets by providing a common framework for the following:

- Transparency: accessible and understandable M&V requirements for Demand Response products; Accountability: criteria that will enable the System Operator to accurately measure performance of Demand Response resources; and Consistency: standards applicable across all wholesale electricity markets.

2.	Applicability of Measurement and Verification Standards:

ISO/RTO Administered Markets

These standards are applicable only to Independent System Operator-Regional Transmission Organization administered markets in North America.  The standards reflect business practices applicable to measurement and verification of wholesale market Demand Response services including the following four product/service categories:

# Energy Service

A type of Demand Response service in which Demand Resources delivers a quantity of electricity measured in MWhs.

# Capacity Service

A type of Demand Response service in which Demand Resources are obligated as a means of controlling Demand over a defined period of time measured in MW.

# Reserve Service

A type of Demand Response service in which Demand Resources are obligated to be available to provide Demand reduction upon deployment by the System Operator, based on reserve capacity requirements established to meet applicable reliability standards.

# Regulation Service

A type of Demand Response service in which a Demand Resource increases and decreases Load in response to real-time signals from the System Operator.  Demand Resources providing Regulation Service are subject to dispatch continuously during a commitment period.  Provision of Regulation Service does not correlate to the time periods, deadlines and transitions in the Demand Response Event definition.

For purposes of these Measurement and Verification standards, Demand Response does not include Measurement and Verification of energy efficiency or permanent Load reduction.

These standards establish Demand Response M&V criteria.  They do not establish requirements related to the compensation, design, operation, or use of Demand Response services.  System Operators are not required to offer these Services and may not currently offer each of these Services.  Terms that are capitalized in these standards have the meanings ascribed to them in the Definitions of Terms section.

Tariff Conflict:

In the event of a conflict between these business practices and a System Operator’s Governing Documents, the FERC shall have regulatory authority.  Terms defined in the Definition of Terms do not modify or supersede definitions in the Governing Documents that apply to the compensation, design, operation, or use of Demand Response services.

NERC Standards:

All entities supplying Demand Response Services shall comply with applicable NERC reliability standards.

Non-ISO/RTO Markets:

Wholesale Demand Response standards do not apply in markets administered by non-ISO/RTOs;  such standards s will be developed when required.

3.	Overview of the Standards

These M&V standards establish criteria for the use of equipment, technology, and procedures to quantify the Demand Reduction Value. Commonalities may be found among the standards for the four product categories outlined in section 2 above.  The following categories are applicable to each of these the four types of Demand Response products.

| General | Advance Notification |
| --- | --- |
|  | Deployment Time |
|  | Reduction Deadline |
|  | Release/Recall |
|  | Normal Operations |
|  | Demand Resource Availability Measurement |
|  | Aggregation |
|  | Transparency of Requirements |
| Telemetry | Telemetry Requirement |
|  | Telemetry Accuracy |
|  | Telemetry Interval |
|  | Other Telemetry Measurements |
|  | Communication Protocol |
|  | Governor Control Equivalent |
|  | On-Site Generation Telemetry Requirement |
| After-The-Fact Metering | After-the-Fact Metering Requirement |
|  | Meter Accuracy |
|  | Details of Meter/Equipment Standards |
|  | Meter Data Reporting Deadline |
|  | Meter Data Reporting Interval |
|  | Clock / Time Accuracy |
|  | Validating, Editing & Estimating (VEE) Method |
|  | On-Site Generation Meter Requirement |
| Performance Evaluation | Rules for Performance Evaluation |

Performance Evaluation Methodology

For each Demand Response service, a performance evaluation methodology is used to determine the Demand Reduction Value corresponding to a specific Demand Resource. The standards include descriptions of acceptable Baselines and alternative performance measurements that are appropriate for each of the four types of Demand Response service.  Criteria for performance evaluation methodologies apply to baseline information, Demand Response even information and special processing, as shown below.

| Baseline Information | Baseline Window |
| --- | --- |
|  | Calculation Type |
|  | Sampling Precision and Accuracy |
|  | Exclusion Rules |
|  | Baseline Adjustments |
|  | Adjustment Window |
| Event Information | Use of Real-Time Telemetry |
|  | Use of After-The-Fact Metering |
|  | Performance Window |
|  | Measurement Type |
| Special Processing | Highly-Variable Load Logic |
|  | On-Site Generation Requirements |

These standards provide a framework that may be used to develop performance evaluation methodologies for specific Demand Response services; they do not specify detailed characteristics of performance evaluation methodologies.  The System Operator may offer multiple performance evaluation models and may assign a Demand Resource to a model based on the Load characteristics of the Demand Resource or allow the Demand Resource provider to choose a performance evaluation model consistent with its load characteristics from a predefined list.  The following methodology types are applicable to wholesale Demand Response Services:

Maximum Base Load: A performance evaluation methodology based solely on the ability of a Demand Resource to maintain its electricity usage at or below a specified level during a Demand Response Event.

Meter Before / Meter After:  A performance evaluation methodology in which electricity Demand over a prescribed period of time prior to resource Deployment is compared to similar readings during the Sustained Response Period.

Baseline Type-I: A Baseline performance evaluation methodology based on  historical interval meter data for a Demand Resource that may also include other parameters such as weather and calendar data.

Baseline Type-II: A Baseline performance evaluation methodology that uses statistical sampling to estimate the electricity usage of an Aggregated Demand Resource where interval metering is not available on the entire population.

Metering Generator Output: A performance evaluation methodology in which the Demand Reduction Value is based on the output of a generator located behind the revenue meter for the Demand Resource.

| Performance Evaluation Type | Valid For Service Type |  |  |  |
| --- | --- | --- | --- | --- |
|  | Energy | Capacity | Reserves | Regulation |
| Maximum Base Load |  |  |  |  |
| Meter Before / Meter After |  |  |  |  |
| Baseline Type-I |  |  |  |  |
| Baseline Type-II |  |  |  |  |
| Metering Generator Output |  |  |  |  |

Business Practice Standard Requirements:

Provision of Wholesale Electric Demand Response Energy Products

Applicability

The Standard applies to any entity that administers wholesale Demand Response Energy Products.

Purpose

The purpose of this Standard is to ensure that participants in wholesale electric markets in which these Products are administered receive uniform access to information that will enable them to participate in said markets.

015-1.0	GENERAL

- Advance Notification

The Governing Documents shall specify any requirements for an Advance Notification instruction.

- Deployment Time

The Governing Documents shall specify the time at which Demand Resources must begin reducing Demand on the system.

- Reduction Deadline

The Governing Documents shall specify the Reduction Deadline.

- Release/Recall

The Governing Documents shall specify the time at which Demand Resources may begin returning to Normal Operations.

- Normal Operations

The Governing Documents shall specify Normal Operations.

- Demand Resource Availability Measurement

Not applicable to Energy Service unless otherwise specified by the Governing Documents.

- Aggregation

The Governing Documents shall specify any requirements for aggregated Demand.

- Transparency of Requirements

Any specific requirements shall be defined in the Governing Documents and shall be posted in a publicly accessible location.

015-1.1	TELEMETRY

- Telemetry Requirement

The Governing Documents shall specify any requirements for real-time Telemetry, including, but not limited to: the use of real-time Telemetry, the entity or entities responsible for installing and maintaining Telemetry equipment and collecting and communicating Telemetry data. For purposes of these standards Telemetry refers to equipment providing communication signals between a Demand Resource or Demand Response Provider and the System Operator.

- On-Site Generation Telemetry

If on-site generation is present behind the primary Telemetry point, the Governing Documents will specify the need for  Telemetry data to measure performance of the generator.

- Telemetry Accuracy

Real-time Demand measurement shall be expressed as a percentage of full scale, accurate to at least 97%.

- Telemetry Interval

The Telemetry Interval shall not exceed a minimum of 5 minutes in delay from real time communications.

- Other Telemetry Measurements

The Governing Documents shall specify any additional Telemetry data requirements.

- Communication Protocol

The Governing Documents shall specify the Telemetry communication protocol.

- Governor Control Equivalent

Not applicable to Energy Service unless otherwise specified by the Governing Documents.

015-1.2	AFTER-THE-FACT METERING

- After-the-Fact Metering Requirement

After-the-Fact Metering is required unless otherwise specified by the Governing Documents.

- Meter Accuracy

After-the-Fact Metering shall be accurate to at least  98%  of full scale or relevant electric retail regulatory authority requirements,

- Details of Meter/Equipment Standards

Meter/Equipment standards shall meet or exceed industry standards equivalent to ANSI C12.

- Meter Data Reporting Deadline

A Meter Data Reporting Deadline shall be a minimum of one day and a maximum of 103 days after a Demand Response Event.

Governing Documents

- Meter Data Reporting Interval

Meter Data Reporting Interval shall not exceed 1 hour.

- Clock / Time Accuracy

Clock and time meter/equipment standards shall meet or exceed industry standards equivalent to ANSI C12.

- Validating, Editing & Estimating (VEE) Method

The Governing Documents shall specify VEE requirements.

- On-Site Generation Meter Requirement

The Governing Documents shall specify additional metering requirements if on-site generation is present behind the primary metering point.

015-1.3	PERFORMANCE EVALUATION

- Rules for Performance Evaluation

Performance shall be evaluated through the use of one of the following methods unless otherwise specified by the Governing Documents:

- Maximum Base Load

- Meter Before / Meter After

- Baseline Type-I

- Baseline Type-II

- Metering Generator Output

Business Practice Requirements:

Provision of Wholesale Electric Demand Response Capacity Products

Applicability

The Standard applies to any entity that administers the wholesale Demand Response Capacity Products.

Purpose

The purpose of this Standard is to ensure that participants in wholesale electric markets in which these Products are administered receive uniform access to information that will enable them to participate in said markets.

015-1.4	GENERAL

- Advance Notification

Advance Notification instruction may be issued a maximum of one day ahead of the deployment event.

- Deployment Time

The Governing Documents shall specify the time at which Demand Resources must begin reducing Demand on the system.

- Reduction Deadline

The Governing Documents shall specify the Reduction Deadline.  The minimum Reduction Deadline is instantaneous and the maximum Reduction Deadline is two hours.

- Release/Recall

The Governing Documents shall specify the time at which Demand Resources shall be instructed to begin restoring Load.

- Normal Operations

The Governing Documents shall specify Normal Operations.

- Demand Resource Availability Measurement

The Governing Documents shall specify any requirements for measuring the capability of a Demand Resource to meet its obligation.

- Aggregation

The Governing Documents shall specify any requirements for aggregated Demand Resources for the purposes of Measurement and Verification.

- Transparency of Requirements

Any specific requirements shall be defined in governing the Governing Documents and shall be posted in a publicly accessible location.

015-1.5	TELEMETRY

- Telemetry Requirement

The Governing Documents shall specify any requirements for real-time Telemetry, including, but not limited to: the use of real-time Telemetry, the entity or entities responsible for installing and maintaining Telemetry equipment and collecting and communicating Telemetry data.

- On-Site Generation Telemetry

If on-site generation is present behind the primary Telemetry point, the Governing Documents will specify the need for real-time Telemetry data to measure performance of the generator.

- Telemetry Accuracy

The Governing Documents shall specify the accuracy of the real-time Demand measurement to be expressed as a percentage of full scale, of at least 97%.

- Telemetry Interval

The Telemetry Interval delay from real time shall not exceed 5 minutes.

- Other Telemetry Measurements

The Governing Documents shall specify any additional Telemetry data requirements.

- Communication Protocol

The Governing Documents shall specify the Telemetry communication protocol.

- Governor Control Equivalent

Not applicable to Capacity Service unless otherwise specified by the Governing Documents.

015-1.6	AFTER-THE-FACT METERING

- After-the-Fact Metering Requirement

After-the-fact Metering is required unless otherwise specified by the Governing Documents.

- Meter Accuracy

After-the-Fact Metering shall be accurate to 98% of full scale or relevant electric retail regulatory authority requirements.

- Details of Meter/Equipment Standards

Meter/Equipment standards shall meet or exceed industry standards equivalent to ANSI C12 unless otherwise specified by the Governing Documents.

- Meter Data Reporting Deadline

A  Meter Data Reporting Deadline shall be  a minimum of one day and a maximum of 103 days after a Demand Response Event.

- Meter Data Reporting Interval

The Meter Data Reporting Interval shall not exceed 1 hour.

- Clock / Time Accuracy

The Governing Documents shall specify the clock and time accuracy.  Clock and time meter/equipment standards shall meet or exceed industry standards equivalent to ANSI C12 unless otherwise specified by the Governing Documents.

- Validating, Editing & Estimating (VEE) Method

The Governing Documents shall specify VEE requirements, if applicable.

- On-Site Generation Meter Requirement

The Governing Documents shall specify additional metering requirements if on-site generation is present behind the primary metering point.

015-1.7	PERFORMANCE EVALUATION

- Rules for Performance Evaluation

Performance shall be evaluated through the use of one of the following methods unless otherwise specified by the Governing Documents:

- Maximum Base Load

- Meter Before / Meter After

- Baseline Type-I

- Baseline Type-II

- Metering Generator Output

Business Practice Requirements:

Provision of Wholesale Electric Demand Response Reserve Products

Applicability

The Standard applies to any entity that administers the wholesale Demand Response Reserve Products.

Purpose

The purpose of this Standard is to ensure that participants in wholesale electric markets in which these Products are administered receive uniform access to information that will enable them to participate in said markets.

015-1.8	GENERAL

- Advance Notification

The Governing Documents shall specify any requirements for the Advance Notification instruction.

- Deployment Time

The Governing Documents shall specify the time at which Demand Resources must begin reducing Demand on the system.

- Reduction Deadline

The Governing Documents shall specify the Reduction Deadline.

- Release/Recall

The Governing Documents shall specify the time at which Demand Resources shall be instructed to begin restoring Load.

- Normal Operations

The Governing Documents shall specify Normal Operations.

- Demand Resource Availability Measurement

The Governing Documents shall specify any requirements for measuring the capability of a Demand Resource to meet its obligation.

- Aggregation

The Governing Documents shall specify any requirements for Aggregated Demand Resources.

- Transparency of Requirements

Any specific requirements shall be defined in the Governing Documents and shall be posted in a publicly accessible location.

015-1.9	TELEMETRY

- Telemetry Requirement

The Governing Documents shall specify any requirements for real-time Telemetry, including, but not limited to: the use of real-time Telemetry, the entity or entities responsible for installing and maintaining Telemetry equipment and collecting and communicating Telemetry data

- On-Site Generation Telemetry

If on-site generation is present behind the primary telemetry point, the Governing Documents shall specify the need for real-time Telemetry data to measure performance of the generator.

- Telemetry Accuracy

The Governing Documents shall specify the accuracy of the real-time Demand measurement to be expressed as a percentage of full scale, to at least 97%.

- Telemetry Interval

The Telemetry Interval delay from real time shall not exceed 5 minutes.

- Other Telemetry Measurements

The Governing Documents shall specify any additional Telemetry data requirements.

- Communication Protocol

The Governing Documents shall specify the Telemetry communication protocol.

- Governor Control Equivalent

Not applicable to Reserve Service unless otherwise specified by the Governing Documents.

015-1.10	AFTER-THE-FACT METERING

- After-the-Fact Metering Requirement

After-the-fact Metering is required unless otherwise specified by the Governing Documents.

- Meter Accuracy

After-the-Fact Metering shall be accurate to at least 98% of full scale or relevant electric retail regulatory authority requirements.

- Details of Meter/Equipment Standards

Meter/Equipment standards shall meet or exceed industry standards equivalent to ANSI C12 unless otherwise specified by the Governing Documents.

- Meter Data Reporting Deadline

A Meter Data Reporting Deadline shall be a maximum of 55 days after a Demand Response Event.

- Meter Data Reporting Interval

A Meter Data Reporting Interval shall not exceed 1 hour.

- Clock / Time Accuracy

The Governing Documents shall specify the clock and time accuracy.  Clock and time meter/equipment standards shall meet or exceed industry standards equivalent to ANSI C12 unless otherwise specified by the Governing Documents.

- Validating, Editing & Estimating (VEE) Method

The Governing Documents shall specify VEE requirements.

- On-Site Generation Meter Requirement

The Governing Documents shall specify additional metering requirements if on-site generation is present behind the primary metering point.

015-1.11	PERFORMANCE EVALUATION

- Rules for Performance Evaluation

Performance shall be evaluated through the use of one of the following methods unless otherwise specified by the Governing Documents:

- Maximum Base Load

- Meter Before / Meter After

- Baseline Type-I

- Baseline Type-II

- Metering Generator Output

Business Practice Requirements:

Provision of Wholesale Electric Demand Response Regulation Products

Applicability

The Standard applies to any entity that administers the wholesale Demand Response Regulation Products.

Purpose

The purpose of this Standard is to ensure that participants in wholesale electric markets in which these Products are administered receive uniform access to information that will enable them to participate in said markets.

015-1.12	GENERAL

- Advance Notification

Not applicable to Regulation Service unless otherwise specified by the Governing Documents.

- Deployment Time

Not applicable to Regulation Service unless otherwise specified by the Governing Documents.

- Reduction Deadline

Not applicable to Regulation Service unless otherwise specified by the Governing Documents.

- Release/Recall

Not applicable to Regulation Service unless otherwise specified by the Governing Documents.

- Normal Operations

Not applicable to Regulation Service unless otherwise specified by the Governing Documents.

- Demand Resource Availability Measurement

Not applicable to Regulation Service unless otherwise specified by the Governing Documents.

- Aggregation

The Governing Documents shall specify any requirements for aggregated Demand Resources.

- Transparency of Requirements

Any specific requirements shall be defined in the Governing Documents and shall be posted in a publicly accessible location.

015-1.13	TELEMETRY

- Telemetry Requirement

The Governing Documents shall specify any requirements for real-time Telemetry, including, but not limited to: the use of real-time Telemetry, the entity or entities responsible for installing and maintaining Telemetry equipment and collecting and communicating Telemetry data.

- On-Site Generation Telemetry

If on-site generation is present behind the primary Telemetry point, the Governing Documents shall specify whether real-time Telemetry data is required to measure performance of the generator.

- Telemetry Accuracy

The Governing Documents shall specify the accuracy of the real-time Demand measurement to be expressed as a percentage of full scale, of at least 97%.

- Telemetry Interval

The telemetry Interval shall not exceed six seconds (NERC BAL-005-0b, R8).

- Other Telemetry Measurements

The Governing Documents shall specify any additional Telemetry data requirements.

- Communication Protocol

The Governing Documents shall specify the Telemetry communication protocol.

- Governor Control Equivalent

Demand Resources providing Regulation Service shall respond to grid frequency deviations,  similar to governor action provided by generation resources, unless otherwise specified by the Governing Documents.

015-1.14	AFTER-THE-FACT METERING

- After-the-Fact Metering Requirement

After-the-fact Metering is not required unless otherwise specified by the Governing Documents.

- Meter Accuracy

After-the-Fact Metering shall be accurate to at least 98% of full scale or relevant electric retail regulatory authority requirements.

- Details of Meter/Equipment Standards

Meter/Equipment standards shall meet or exceed industry standards equivalent to ANSI C12 unless otherwise specified by the Governing Documents.

- Meter Data Reporting Deadline

A Meter Data Reporting Deadline shall be a maximum of fifty-five calendar days after a Demand Response Event.

- Meter Data Reporting Interval

A Meter Data Reporting Interval shall not exceed 1 hour.

- Clock / Time Accuracy

In accordance with NERC Reliability Standards, the Governing Documents shall specify the clock and time accuracy.  Clock and time meter/equipment standards shall meet or exceed industry standards equivalent to ANSI C12 unless otherwise specified by the Governing Documents.

- Validating, Editing & Estimating (VEE) Method

The Governing Documents shall specify VEE requirements, if applicable.

- On-Site Generation Meter Requirement

The Governing Documents shall specify additional metering requirements if on-site generation is present behind the primary metering point.

015-1.15	PERFORMANCE EVALUATION

- Rules for Performance Evaluation

Performance may be evaluated using telemetry data, as specified by the Governing Documents, and additionally through the use of one of the following methods:

- Meter Before / Meter After

- Metering Generator Output

Business Practice Requirements

Maximum Base Load Evaluation

015-1.16	BASELINE INFORMATION

There are no Baseline calculations defined for Maximum Base Load evaluations.  The Maximum Base Load Evaluation methodology shall be associated with a demand reduction obligation compared to the Demand Resource’s average Load.

015-1.17	EVENT INFORMATION

- Use of Real-Time Telemetry

- The Governing Documents shall specify whether there is a need for real-time Telemetry to measure performance.

.

- Use of After-The-Fact Metering

After-the-fact metering shall be used to measure performance, unless otherwise specified by the Governing Documents.

- Performance Window

The Performance Window shall be the Sustained Response Period (Reduction Deadline through Release/Recall).

- Measurement Type

During the Performance Window, the Demand Resource must maintain its electricity consumption at or below the Maximum Base Load.  The criteria used to evaluate performance shall be one of the following:

    - Peak Demand

    - Average Demand - over a period of from 5 minutes to the entire Performance Window

015-1.18	SPECIAL PROCESSING

The Governing Documents shall specify any special processing rules.

Business Practice Requirements

Meter Before / Meter After

015-1.19	BASELINE INFORMATION

- Baseline Window

The Governing Documents shall specify the time interval associated with the meter read, prior to deployment, used to establish the Baseline Window.

- Calculation Type

During the Baseline Window, the energy consumption or Demand of the Demand Resource shall be evaluated using one of the following measurements:

- Instantaneous

- Maximum

- Average

  - Sampling Precision and Accuracy

The Governing Documents shall determine the application of sampling for collecting baseline information

- Exclusion Rules

The Governing Documents shall specify any exclusion rules.

- Baseline Adjustments

Baseline Adjustments are not permitted for this performance evaluation type

- Adjustment Window

No Adjustment Window is used for this model.

015-1.20	EVENT INFORMATION

- Use of real-time Telemetry

- The Governing Documents shall specify whether there is a need for real-time Telemetry to measure performance.

.

- Use of After-The-Fact Metering

After-the-fact metering shall be used to measure performance.

- Performance Window

The Performance Window shall be the Sustained Response Period (Reduction Deadline through Release/Recall).

- Measurement Type

During the Performance Window, the Demand Resource shall be evaluated using one of the following:

- Instantaneous

- Maximum

- Average

015-1.21	SPECIAL PROCESSING

  - Highly-Variable Load Logic

The Governing Documents shall specify any performance evaluation requirements for Highly-Variable Loads.

  - On-Site Generation Requirements

The Governing Documents shall specify any performance evaluation requirements for on-site generation.

Business Practice Requirements

Baseline Type-I (Interval Meter)

015-1.22	BASELINE INFORMATION

  - Baseline Window

The Governing Documents shall specify the Baseline Window.

  - Calculation Type

The method of developing the Baseline value may include, but is not limited to, the following calculation types:

- Maximum

- Average

- Regression

  - Sampling Precision and Accuracy

The Governing Documents shall determine the application of sampling for collecting baseline information.

- Exclusion Rules

ARules for excluding data from the Baseline window may be based on, but are not limited to the following:

- Historical Demand Response Events

- Testing/Audit Periods

- Calendar data

- Outages

- Weather emergencies or force majeure events

- Usage threshold

- Known, discrete load additions or reductions that have occurred during the Baseline Window

  - Baseline Adjustments

Baseline  Adjustment rules may be based on, but are not limited to the following:

- Temperature

- Humidity

- Calendar data

- Sunrise/Sunset time

- Event  day operating conditions

  - Adjustment Window

The Adjustment Window shall begin no more than four hours after deployment.

015-1.23	EVENT INFORMATION

- Use of Real-Time Telemetry

- The Governing Documents shall specify whether there is a need for real-time Telemetry to measure performance.

.

- Use of After-The-Fact Metering

After-the-fact metering shall be used to measure performance unless telemetry is specified as the method of measurement.

- Performance Window

The Governing Documents shall specify the Performance Window.

- Measurement Type

During the Performance Window, the Demand Resource shall be evaluated using one of the following measurements:

- Maximum

- Average

- Regression

015-1.24	SPECIAL PROCESSING

  - Highly-Variable Load Logic

The Governing Documents  may specify performance evaluation requirements for Highly-Variable Loads.

  - On-Site Generation Requirements

The Governing Documents  may specify performance evaluation requirements for on-site generation.

Business Practice Requirements

Baseline Type-II (Non-Interval Meter)

015-1.25	BASELINE INFORMATION

  - Baseline Window

The Governing Documents shall specify the Baseline Window.

  - Calculation Type

The methods of developing the Baseline value may include, but are not limited to, the following calculation types:

- Maximum

- Average

- Regression

  - Sampling Precision and Accuracy

The Governing Documents shall determine the application of sampling for collecting baseline information

- Exclusion Rules

Any rules for excluding data from the Baseline Window may be based on, but are not limited to the following:

- Historical Demand Response Events

- Testing/Audit Periods

- Calendar data

- Outages

- Weather emergencies or force majeure events

- Usage threshold

- Known, discrete load additions or reductions that have occurred during the Baseline Window

- Baseline Adjustments

Any rules for Baseline Adjustments may be based on, but are not limited to the following:

- Temperature

- Humidity

- Calendar data

- Sunrise/Sunset time

- Event  day operating conditions

  - Adjustment Window

The Adjustment Window shall begin no more than four hours prior to deployment.

015-1.26	EVENT INFORMATION

- Use of Real-Time Telemetry

- The Governing Documents shall specify whether there is a need for real-time Telemetry to measure performance.

.

- Use of After-The-Fact Metering

After-the-fact metering or other energy measurement technology meeting the requirements of the Governing Documents shall be used to measure performance.

- Performance Window

The Governing Documents shall specify the Performance Window.

- Measurement Type

During the Performance Window, the performance of the Demand Resource shall be evaluated using one of the following:

- Maximum

- Average

- Regression

015-1.27	SPECIAL PROCESSING

The Governing Documents shall specify any special processing rules.

Business Practice Requirements

Metering Generator Output

015-1.28	BASELINE INFORMATION

The Governing Documents shall specify Baseline calculations for Metering  Generator Output.

015-1.29	EVENT INFORMATION

- Use of Real-Time Telemetry

- The Governing Documents shall specify whether there is a need for real-time Telemetry to measure performance.

- Use of After-The-Fact Metering

After-the-fact metering on the generator and optionally on the associated Load shall be used to measure performance unless otherwise specified by the Governing Documents.

- Performance Window

The Governing Documents shall specify the Performance Window.

- Measurement Type

During the Performance Window, the Demand Resource shall be evaluated using the total measured generation output unless otherwise specified by the Governing Documents.

015-1.30	SPECIAL PROCESSING

The Governing Documents shall specify any special processing rules.

Revision History

Business Practice Sub-Working Group

| Date | Revision Description | Categories Changed | Approved |
| --- | --- | --- | --- |
| 3/12/2010 | Removed “System Operator” and replaced it with “Market Rules pertaining to demand response” to more accurately reflect that rules are developed by markets not the System Operator. | 015-1.0 through 015-1.10 |  |
| 06/11/2010 | Modified language to provide additional enhancement. | 015-1.12 through 015-1.14 |  |
| 06/18/2010 | Changed the Telemetry Accuracy and Meter Accuracy per the IRC Matrix update. | 015-1.1 through 015-1.2 and 015-1.9 through 015-1.10 |  |
| 06/23/2010 | Modified language to include parameters in IRC Matrix. | 015-1.4 through 015-1.6. |  |
| 7/23/2010 | Added definition for “Governing Documents” and modified text accordingly throughout business practice standards. | Definition section addition and modified all applicable locations in document. |  |
| 7/30/2010 | In Regulation, under Telemetry Accuracy, changes to 95% from 97%. | 015-1.13 Telemetry |  |
| 8/13/2010 | Removed “Market Rules” and replaced it with “Governing Documents.” | Throughout document. |  |
| 9/16/2010 | Replaced glossary with glossary approved in May 2010. | Glossary |  |

Revision History

Performance Evaluation Sub-Working Group

| Date | Revision Description | Categories Changed | Approved |
| --- | --- | --- | --- |
| 3/12/2010 | Removed “System Operator” and replaced it with “Governing Documents pertaining to demand response” to more accurately reflect that rules are developed by markets not the System Operator. | 015-1.11 through 015-1.30 |  |
| 7/17/2010 | Added clarifications in Use of ATF Metering and inserted additional Measurement Type. | 015-1.26 |  |
| 7/23/2010 | Modified language to provide additional enhancement | 015-1.19, 015-1.20, 015-1.22 and 015-1.23 |  |
| 7/30/2010 | In Max Base Load, under Measurement Type, added clarification phrase to “b) Average Demand” | 015-1.17 Event Information |  |
| 8/13/2010 | Removed “Market Rules” and replaced it with “Governing Documents.” | Throughout document. |  |

- 4.  SUPPORTING DOCUMENTATION

- a. Description of Request:

- Develop business practices to support demand side management and energy efficiency programs in the wholesale and retail electric markets.

- b. Description of Recommendation:

- For the second phase, develop business practices to provide more clarity and granularity for the measurement and verification aspects of wholesale market demand response products.

- c. Business Purpose:

- The business practices may be used by the administrators of wholesale demand response programs to add market transparency and understanding in the application of the measurement and verification characteristics of those programs.

e. Additional Background documentation

- DSM-EE NAESB page for meetings and materials:  http://www.naesb.org/dsm-ee.asp

- Presentation of the wholesale recommendation given on October 3: ISO presentation - http://www.naesb.org/pdf3/dsmee100308w7.pdf

- Presentation on the NAESB process to be used – given on October 3: http://www.naesb.org/pdf3/dsmee100308w8.pdf

[At a later time a supporting document with clarifying information will be provided as a Technical Implementation Business Practice]

# The terms Product(s) or Service(s) may be used interchangeably in these standards.