1.  RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

|  | Accept as requested | X | Change to Existing Practice |
| --- | --- | --- | --- |
| X | Accept as modified below |  | Status Quo |
|  | Decline |  |  |

2.  TYPE OF DEVELOPMENT/MAINTENANCE

| Per Request: |  | Per Recommendation: |  |
| --- | --- | --- | --- |
|  | Initiation |  | Initiation |
|  | Modification |  | Modification |
|  | Interpretation |  | Interpretation |
|  | Withdrawal |  | Withdrawal |
|  | Principle |  | Principle |
|  | Definition |  | Definition |
| X | Business Practice Standard |  | Business Practice Standard |
|  | Document |  | Document |
|  | Data Element |  | Data Element |
|  | Code Value |  | Code Value |
|  | X12 Implementation Guide |  | X12 Implementation Guide |
|  | Business Process Documentation |  | Business Process Documentation |

- 3.  RECOMMENDATION

SUMMARY:

To address Request R07007, e-Tag timing tables, the JISWG worked with the requestor to simplify and enhance the clarity of the tables.  The Timing Table Interchange Timeline with Minimum Reliability-Related Response Times in Appendix D of WEQ 004 Coordinate Interchange ratified under change request R05001 (with Minor Corrections Applied March 20, 2007) will be split into two tables.  One table will be applicable to all interconnections other than WECC.  The second table will be specific to WECC. These two tables have differences due to the difference in ramp durations and ramp start between the WECC and other interconnections.  The tables now also contain a timeline diagram which various industry participants requested.  The timing tables, if approved, should replace the timing tables in the existing Coordinate Interchange standard.  The revised timing tables are included below.

At the August 14, 2007 the WEQ Executive Committee (EC) first reviewed the recommendation for R07007.  Below is an extract from the meeting minutes/

After further discussion, Mr. Rodriquez requested that Mr. Davis and Mr. Castle withdraw their motion in favor of a new motion to remand the Recommendation for R07007 back to the JISWG to address Mr. Davis’ concerns.  Mr. Davis and Mr. Castle accepted Mr. Rodriquez’ suggestion.  Mr. Rodriquez then called the question.  Mr. Sorenson requested that the motion be revised to include that the modifications should wait to see what happens in the NERC SAR process and standard process.  Mr. Davis and Mr. Castle accepted Mr. Sorenson’s suggestion.  The motion unanimously passed a simple majority vote.

Since the original recommendation was remanded back to JISWG, the INT-005-3, INT-006-3, and INT-008-3 NERC Standards have been revised and submitted to the NERC Board of Trustees for Approval.  The Coordinate Interchange Timing tables in this recommendation reflect the time changes for the GPE, LSE, and PSE Market Assessments so that they are concurrent with the BA and TSP Reliability Assessments.

Recommended Standards:

Delete the following information from WEQ-004 Appendix D – Commercial Timing Table

Timing Table

Interchange Timeline with Minimum Reliability-Related Response Times

Ramp Start

Request for Interchange Submitted

|  | A | B | C | D |  |
| --- | --- | --- | --- | --- | --- |
| If Actual Arranged Interchange (RFI) is Submitted | IA Makes Initial Distribution of Arranged Interchange | GPE, LSE, and PSE1 Conduct Market Assessments2 IA Verifies Reliability Data Complete | IA Compiles and Distributes Status | BA Prepares Confirmed Interchange for Implementation | Minimum Total Reliability Period (Columns A through D) |
| <1 hour prior to ramp start | < 1 minute from RFI submission | < 10 minutes from Arranged Interchange receipt from IA for all Interconnections except WECC | < 1 minute from receipt of all Reliability Assessments | > 3 minutes prior to ramp start | 15 minutes |
| <20 minutes prior to ramp start | < 1 minute from RFI submission | < 5 minutes from Arranged Interchange receipt from IA for WECC | < 1 minute from receipt of all Reliability Assessments | > 3 minutes prior to ramp start | 10 minutes |
| >20 minutes to <1 hour prior to ramp start | < 1 minute from RFI submission | < 10 minutes from Arranged Interchange receipt from IA for WECC | < 1 minute from receipt of all Reliability Assessments | > 3 minutes prior to ramp start | 15 minutes |
| >1 hour to < 4 hours prior to ramp start | < 1 minute from RFI submission | < 20 minutes from Arranged Interchange receipt from IA | < 1 minute from receipt of all Reliability Assessments | > 39 minutes prior to ramp start | 1 hour plus 1 minute |
| > 4 hours prior to ramp start | < 1 minute from RFI submission | < 2 hours from Arranged Interchange receipt from IA | < 1 minute from receipt of all Reliability Assessments | > 1 hour 58 minutes prior to ramp start | 4 hours |

Add the following information to WEQ-004 Appendix D – Commercial Timing Table

Timing Requirements for all Interconnections except WECC

|  |  | A | B | C | D |
| --- | --- | --- | --- | --- | --- |
| If Actual Arranged Interchange (RFI) is Submitted | IA Assigned Time Classification | IA Makes Initial Distribution of Arranged Interchange | GPE, LSE, and PSE Conduct Market Assessments | IA Compiles and Distributes Status | BA Prepares Confirmed Interchange for Implementation |
| >1 hour after the RFI start time | After-the-Fact | < 1minute from RFI submission | Entities have up to 2 hours to respond. | < 1minute from receipt of all Reliability Assessments | NA |
| <15 minutes prior to ramp start and <1 hour after the RFI start time | Late | < 1minute from RFI submission | Entities have up to 10 minutes to respond. | < 1minute from receipt of all Reliability Assessments | < 3 minutes after receipt of confirmed RFI |
| <1 hour and > 15 minutes prior to ramp start | On-time | < 1minute from RFI submission | < 10 minutes from Arranged Interchange receipt from IA | <1 minute from receipt of all Reliability Assessments | >3 minutes prior to ramp start |
| >1 hour and < 4 hours prior to ramp start | On-time | < 1minute from RFI submission | < 20 minutes from Arranged Interchange receipt from IA | < 1minute from receipt of all Reliability Assessments | > 39 minutes prior to ramp start |
| > 4 hours prior to ramp start | On-time | < 1minute from RFI submission | < 2 hours from Arranged Interchange receipt from IA | < 1minute from receipt of all Reliability Assessments | > 1 hour 58 minutes prior to ramp start |

Example of Timing Requirements for all Interconnections except WECC

Timing Requirements for WECC

|  |  | A | B | C | D |
| --- | --- | --- | --- | --- | --- |
| If Actual Arranged Interchange (RFI) is Submitted | IA Assigns Time Classification | IA Makes Initial Distribution of Arranged Interchange | GPE, LSE, and PSE Conduct Market Assessments | IA Compiles and Distributes Status | BA Prepares Confirmed Interchange for Implementation |
| >1 hour after the start time | After-the-fact | < 1minute from RFI submission | Entities have up to 2 hours to respond. | < 1minute from receipt of all Reliability Assessments | NA |
| <10 minutes prior to ramp start and <1 hour after the start time | Late | < 1minute from RFI submission | Entities have up to 10 minutes to respond. | < 1minute from receipt of all Reliability Assessments | < 3 minutes after receipt of confirmed RFI |
| 10 minutes prior to ramp start | On-time | < 1 minute from RFI submission | < 5 minutes from Aranged Interchange receipt from IA | < 1 minute from receipt of all Reliability Assessments | > 3 minutes prior to ramp start |
| 11 minutes prior to ramp start | On-time | < 1 minute from RFI submission | < 6 minutes from Aranged Interchange receipt from IA | < 1 minute from receipt of all Reliability Assessments | > 3 minutes prior to ramp start |
| 12 minutes prior to ramp start | On-time | < 1 minute from RFI submission | < 7 minutes from Aranged Interchange receipt from IA | < 1 minute from receipt of all Reliability Assessments | > 3 minutes prior to ramp start |
| 13 minutes prior to ramp start | On-time | < 1 minute from RFI submission | < 8 minutes from Aranged Interchange receipt from IA | < 1 minute from receipt of all Reliability Assessments | > 3 minutes prior to ramp start |
| 14 minutes prior to ramp start | On-time | < 1 minute from RFI submission | < 9 minutes from Aranged Interchange receipt from IA | < 1 minute from receipt of all Reliability Assessments | > 3 minutes prior to ramp start |
| <1 hour and > 15 minutes prior to ramp start | On-time | < 1minute from RFI submission | < 10 minutes from Arranged Interchange receipt from IA | < 1minute from receipt of all Reliability Assessments | > 3 minutes prior to ramp start |
| >1 hour and < 4 hours prior to ramp start | On-time | < 1minute from RFI submission | < 20 minutes from Arranged Interchange receipt from IA | < 1minute from receipt of all Reliability Assessments | > 39 minutes prior to ramp start |
| > 4 hours prior to ramp start | On-time | < 1minute from RFI submission | < 2 hours from Arranged Interchange receipt from IA | < 1minute from receipt of all Reliability Assessments | > 1 hour 58 minutes prior to ramp start |
| Submitted before 10:00 PPT with start time > 00:00 PPT of following day | On-time | < 1minute from RFI submission | By 12:00 PPT of day the Arranged Interchange was received by the IA | < 1minute from receipt of all Reliability Assessments | > 1 hour 58 minutes prior to ramp start |

Example of Timing Requirements for WECC

4.  SUPPORTING DOCUMENTATION

- Description of Request:

Update the Timing Table to Reflect the Categories (On-time, Late, After-the-fact, and Pre-late) used in the latest E-Tag Specification with respect to receipt of an Arranged Interchange (RFI):

- Include designation of request status based on start and submittal times.

- Include assess times for After-The-Fact  requests.

Include a WECC preschedule late (Pre-Late) submittal definition

b.  Description of Recommendation:

After review of this Request and in consultation with the WECC, the JISWG recommends that the Pre-late category is not necessary.  The JISWG recommends that the tables set forth in this recommendation be adopted to replace the existing timing tables in the Timing Table Interchange Timeline with Minimum Reliability-Related Response Times in Appendix D of WEQ 004 Coordinate Interchange documented in Version 002.0 of the NAESB Business Practices.

c.  Business Purpose:

Provide a clear definition of what RFIs are assigned on their initial status:  On Time, Late, or After the Fact.

- Commentary/Rationale of Subcommittee(s)/Task Force(s):

Simplify timing rules, clarify the effects of the timing tables on each entity, incorporate desired changes from industry participants, and provide a clear definition of the initial status that should be assigned to an RFI as per the request.

The timing tables are being updated so that the timing requirements of the GPE, PSE, and LSE Market Assessments are consistent with the timing requirements for the BA and TSP Reliability Assessements documented in INT-005-3.

Standards Request:

R07007 Update the Timing Table to Reflect the Categories (On-time, Late, After-the-fact, and Pre-late) used in the latest E-Tag Specification with respect to receipt of an Arranged Interchange (RFI)

Supporting Meeting Minutes:

  - JISWG Meeting, May 15-18, 2007:  Draft Minutes

  - JISWG Conference Call, June 6, 2007: Final Minutes

  - Joint ESS/ITS and JISWG Conference Call, June 14, 2007: Draft Minutes

  - JISWG Conference Call, June 25, 2007:  Draft Minutes

  - ESS/ITS Meeting, June 26-27, 2007: Final Minutes

  - WEQ Executive Committee Meeting, August 14, 2007: Final Minutes

  - JISWG Conference Call, October 9, 2008: (unavailable – DC)

Corresponding NERC Standard to be approved by the NERC Board of Trustees:

  - INT-005-3 Interchange Authority Distributes Arranged Interchange

Time Classifications and deadlines apply to both initial Arranged Interchange submittal and any subsequent modifications to Arranged Interchange.

This PSE reference applies to PSEs whose transmission rights are cited on Arranged Interchange.

These Market Assessments take place in concurrence with NERC Reliability Assessments (as found in NERC INT-005-3).

Time Classifications and deadlines apply to both initial Arranged Interchange submittal and any subsequent modifications to Arranged Interchange.

This PSE reference applies to PSEs whose transmission rights are cited on Arranged Interchange.

These Market Assessments take place in concurrence with NERC Reliability Assessments (as found in NERC INT-005-3).