1.  RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

|  | Accept as requested |  | Change to Existing Practice |
| --- | --- | --- | --- |
|  | Accept as modified below | X | Status Quo |
| X | Decline |  |  |

2.  TYPE OF DEVELOPMENT/MAINTENANCE

| Per Request: |  | Per Recommendation: |  |
| --- | --- | --- | --- |
|  | Initiation |  | Initiation |
| X | Modification |  | Modification |
|  | Interpretation |  | Interpretation |
|  | Withdrawal | X | Withdrawal |
|  | Certification Specification |  |  |
|  | Principle |  | Principle |
|  | Definition |  | Definition |
|  | Business Practice Standard |  | Business Practice Standard |
|  | Document |  | Document |
|  | Data Element |  | Data Element |
|  | Code Value |  | Code Value |
|  | X12 Implementation Guide |  | X12 Implementation Guide |
|  | Business Process Documentation |  | Business Process Documentation |

3.  RECOMMENDATION

SUMMARY:

This Annual Plan Item was created to coordinate with NERC the development/update of the Disturbance Control Standard (DCS) BAL-002 under Project 2014-14.1 Phase 1 of Balancing Authority Reliability-based Controls: Reserves.  The BAL-002 has references to the ACE equation which if changed may impact NAESB Business Practice Standards WEQ-005 Area Control Error (ACE) Special Cases.  NERC has completed this project and developed BAL-002-2 – Disturbance Control Standard – Contingency Reserve for Recovery from a Balancing Contingency Event.  The final standard includes several new definitions including Reportable Balancing Contingency Event for which this DCS standard is applicable.  Different thresholds levels have been included for different Interconnections.

The revised NERC BAL-002-2 standard does not impact the NAESB Business Practice Standards WEQ-005 or any other NAESB Business Practice Standards and no modifications to the NAESB Business Practice Standards are needed.

Recommended Standards:

No new developments of standards or changes to existing standards are proposed.

4.  SUPPORTING DOCUMENTATION

a.  Description of Request:

The WEQ 2015 Annual Plan Item 1c

Disturbance Control Standard (DCS) (BAL-002) Coordination with NERC Project 2010-14.1 Phase 1 of Balancing Authority Reliability-based Controls: Reserves

b.  Description of Recommendation:

The WEQ Business Practices Subcommittee is recommending that no further action be taken on WEQ 2015 API 1c.

c.  Business Purpose:

The purpose of the NERC Project was to ensure that Balancing Authorities take actions to maintain interconnection frequency with each Balancing Authority contributing its fair share to frequency control.

NAESB Business Practice Standards WEQ-005 are for Balancing Authorities to manage its ACE in Accordance with NERC Reliability Standards and provide additional requirements of Jointly Owned Units (JOUs), Supplemental Regulation Service and load or generation transfer by telemetry for the ACE equation.  Therefore, close coordination is needed between NAESB and NERC for these standards.

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):

Review of the activities and finalized standards developed by NERC under Project  2010-14.1 Phase 1 of Balancing Authority Reliability-based Controls: Reserves indicates that there is no impact on the NAESB Business Practices Standards.  Therefore, no changes to the NAESB Business Practice Standards are needed.

Reference Documents:

- Motions

  - December 1, 2015

- Action Items

  - No actions items

- Meeting Minutes

  - November 4, 2015

  - December 1, 2015