Minor Correction Request

Quadrant: 	Wholesale Electric Quadrant (WEQ)

Business Practice: 	Manual Time Error Correction (WEQ-006)

Submitted By: 	Kathy York, Jim Castle, and Ed Skiba

Date: 	March 24, 2011

We are submitting a minor correction to suspend the NAESB Business Practice Standards for WEQ 006-1 through WEQ 006-12 based on the motion approved by the NERC Operating Committee at their March 9, 2011 meeting.   The motion stated:

The Operating committee adopts the Time Error Correction Field Trial as outlined by the Resources Subcommittee predicated on the following:

- NERC develops correspondence from either the general counsel or the president, informing the FERC that the field trial is expected to be implemented on June 11,2011 and continue until either a.) the test is halted, or b.) modifications to the appropriate standards are made, up to and including retirement of standards.  The correspondence should further explain that, during the field trial, compliance with associated NERC standards need to be waived.  NERC and its stakeholders will work with NAESB to determine what actions, if any, may need to occur relative to NAESB standards.

- NERC complete the Time Correction field trial communications outreach program.

- During the field trial, time error will continue to be monitored but all manual time corrections will cease.

According to the NASB Operating Practices Minor Corrections include:

(a) clarifications or corrections made by a regulatory agency to standards that are of a jurisdictional nature, or by the American National Standards Institute or its successor;

(b) clarifications or corrections to the format, appearance, or descriptions of standards in standards documentation;

(c) clarifications or corrections to add code values to tables; and

(d) clarifications and corrections that do not materially change a standard.

Since the Operating Committee is under NERC and NERC has been designated as the ERO per federal statue, we believe that this request to suspend the business practices standards meet the guidelines for a minor correction under item (a) of the minor correction criteria.  We are requesting that the suspension of these Business Practice Standards follows the same timeline as the Operating Committee suspension of the NERC Standards until either a) the test is halted, or b) modifications to the appropriate standards are made, up to and including the retirement of the corresponding Standards.

Manual Time Error Correction

The following standards are suspended from the start the NERC Time Error Correction Field Trial until either a) the test is halted, or b) modifications to the appropriate standards are made, up to and including the retirement of the corresponding Standards.

Introduction

Interconnection frequency is normally scheduled at 60.00 Hz and controlled to that value. The control is imperfect and over time the frequency will average slightly above or below 60.00 Hz resulting in mechanical electric clocks developing an error relative to true time. This Standard specifies the procedure to be used for reducing the error to within acceptable limits of true time.

Applicability

Balancing Authorities, Interconnection Time Monitor

Business Practice Requirements

006-1	Each Balancing Authority shall participate in Time Error Correction unless it is operating asynchronously to its Interconnection.

006-1.1	Balancing Authorities operating asynchronously who establish their own time error control bands, shall notify the Interconnection Time Monitor of the bands being utilized, and shall also provide notification if they are changed.

006-2	An Interconnection Time Monitor shall exist for each Interconnection.

006-3	The Interconnection Time Monitor shall calibrate its time error device at least annually against the National Institute of Standards and Technology Time.

006-4	Time Error initiation

Time error corrections should start and end on the hour or half-hour, and notice should be given at least one hour before the time error correction is to start or stop. Time Error corrections shall last at least one hour, unless terminated by a Reliability Coordinator. Time Error corrections for fast time shall not be initiated between 0400-1100 Central Time except for in the Western Interconnection. All Balancing Authorities within an Interconnection shall make all Time Error corrections directed by the Interconnection Time Monitor for its Interconnection. All Balancing Authorities within an Interconnection shall make Time Error Corrections at the same rate.

006-5	Interconnection time monitoring

Each Interconnection Time Monitor shall monitor time error and make a reasonable effort to initiate or terminate corrective action orders according to the following table:

| ### Time (seconds) | Initiation |  | Termination |  |
| --- | --- | --- | --- | --- |
|  | East | # West | East | West |
| Slow | 10 | -5 | 6 | 0.5 |
| Fast | +10 | +5 | +6 | 0.5 |

006-6	Time Error Correction labeling

Time error correction notifications shall be labeled alphabetically on a monthly basis (A-Z, AA-AZ, BA-BZ,…).

006-7	Time correction offset

Each Balancing Authority, when requested, shall participate in a Time Error Correction by one of the following two methods:

006-7.1	Frequency offset

The Balancing Authority may offset its frequency schedule in accordance to the directives of the Interconnection Time Monitor, leaving the Frequency Bias Setting normal,

006-7.2	Schedule offset

If the frequency schedule cannot be offset as directed by the Interconnection Time Monitor, the Balancing Authority may offset its net Interchange Schedule (MW) by an amount equal to the computed bias contribution during an equivalent frequency deviation`.

006-8	Interconnection Time Error notification

On the first day of each month, the Interconnection Time Monitor shall issue a notification of time error accurate to within 0.01 second to all Reliability Coordinators within the Interconnection to assure uniform calibration of time standards.

006-9	Western Interconnection time error notification

Within the Western Interconnection, the Interconnection Time Monitor shall provide the accumulated time error (accurate to within 0.001 second) to all Balancing Authorities on a daily basis at 1400 PDT/PST using the WECCNet. The alphabetic designator shall accompany time error notification if a time error correction is in progress.

006-10	After the premature termination of a manual time correction, a slow time correction can be reinstated after the frequency has returned to 60.00 Hz or above for a period of ten minutes. A fast time correction can be reinitiated after the frequency has returned to 60.00 Hz or lower for a period of ten minutes. At least one hour shall elapse between the termination and re-initiation notices.

006-11	Time correction on reconnection

When one or more Balancing Authorities have been separated from the Interconnection, upon reconnection, they shall adjust their time error devices to coincide with the time error of the Interconnection Time Monitor. The Balancing Authorities shall notify the Interconnection Time Monitor they are ready to receive the necessary adjustment to time error as soon as possible after reconnection.

006-12	Leap Seconds

Balancing Authorities using time error devices that are not capable of automatically adjusting for Leap Seconds shall arrange to receive advance notice of the Leap Second and make the necessary manual adjustment in a manner that will not introduce an improper Interchange Schedule into their control system.