NAESB Correction/Clarification Procedure

Minor Clarifications and Corrections to Standards

Minor clarifications and corrections to existing standards include: (a) clarifications or corrections made by a regulatory agency to standards that are of a jurisdictional nature, or by the American National Standards Institute or its successor; (b) clarifications or corrections to the format, appearance, or descriptions of standards in standards documentation; (c) clarifications or corrections to add code values to tables; and (d) clarifications and corrections that do not materially change a standard.   Any request for a minor clarification or correction to an existing standard should be submitted in writing to the executive director. This request shall include a description of the minor clarification or correction and the reason the clarification or correction should be implemented.

1. Processing of Requests

The executive director shall promptly notify the EC and any appropriate subcommittee(s) of the receipt of the request. The members of the applicable quadrant’s EC shall promptly determine whether the request meets the definition of a minor clarification or correction. Through the decision of the vice chair of the applicable quadrant, this determination may be delegated to one of the quadrant’s subcommittees, with the concurrence of the subcommittee chair, in which case the subcommittee shall make a prompt decision.

If the request is determined to meet the definition of minor clarification or correction, the applicable quadrant’s EC, with input from any subcommittee(s) to which the request has been forwarded, shall act on the request within one month of its receipt. A meeting to discuss the request is not required; the decision may be made by notational vote. A simple majority of the votes received shall determine the outcome. The members of the applicable quadrant’s EC shall be given at least three working days to consider and vote on the request.

2. Public Notice

The results of the vote on the request for a minor clarification or correction shall be posted on the NAESB website and the members of the applicable quadrant shall be notified of the request by e-mail. If the request has been approved by the applicable quadrant’s EC, the notification shall include a brief description of the request, the contact name and number of the requester so that further information can be obtained, and the proposed effective date of the clarification or correction. Any interested party shall have an opportunity to comment on the request, and the comments shall be posted on the NAESB website.  The comment period is two weeks.

3. Final Disposition of Approved Requests

If no comments are received on an approved request, the standard shall be clarified or corrected as specified in the approved request on the effective date proposed. If comments are received, they shall be forwarded to the members of the applicable quadrant’s EC for consideration. Each comment requires a public written response from the applicable quadrant’s EC. The applicable quadrant’s EC shall determine whether changes are necessary as a result of the comments. Members of the applicable quadrant’s EC shall be given three working days to consider the comments and determine the outcome, which shall be decided by a simple majority of the votes received. A meeting to discuss the request is not required; the decision may be made by notational vote. The standard shall be clarified or corrected in accordance with the outcome of the vote, effective with the completion of voting, and notice thereof shall be posted on the NAESB website.  In the case of minor corrections which are discovered during the editorial review process of publication of a new version and are categorized as clarifications under (b) or (c) above, the proposed effective date may be (i) two weeks from the date of public notice, following simple majority approval by the applicable Quadrant(s) EC(s) of the shortened effective date, or (ii) one month from the date of the public notice  For all others, the proposed effective date of the minor clarification or correction shall normally be one month from the date of the public notice upon simple majority approval of the applicable Quadrant(s) EC(s).

| Date of Request: | September 19, 2012 |
| --- | --- |

- Submitting Entity & Address:

Ed Skiba

MISO

P.O. Box 4202

Carmel IN 46082-4202

- Contact Person, Phone #, Fax #, Electronic Mailing Address:

| Name: |  | Ed Skiba |
| --- | --- | --- |
| Title: |  | Consulting Advisor |
| Phone: |  | 317-249-5377 |
| Fax: |  | 317-249-5358 |
| E-mail: |  | eskiba@misoenergy.org |

3.  Version and Standard Number(s) suggested for correction or clarification:

NAESB WEQ Business Practice Standards, Version 003: NAESB Business Practice Standards WEQ-008 Transmission Loading Relief (TLR) – Eastern Interconnection

4.  Description of Minor Correction/Clarification including redlined standards corrections:

NAESB WEQ-008 Transmission Loading Relief

Redline: 008-2.2.1.1 The RC shall consider the entire Interchange Transaction non-firm if the transmission link (i.e. a segment on the Contract Path) on the Constrained Facility or Flowgate is Non-Firm Transmission Service, even if other links in the Contract Path are Firm firm. Clean: 008-2.2.1.1 The RC shall consider the entire Interchange Transaction non-firm if the transmission link (i.e. a segment on the Contract Path) on the Constrained Facility or Flowgate is Non-Firm Transmission Service, even if other links in the Contract Path are firm.

Minor correction for Business Practice Standard WEQ-008-3.3.1 to delete “(as found in current version of NERC IRO-006-4)” This is not the current version of the standards, and IRO-006-5 no longer includes anything about Reallocation. Redline: 008-3.3.1 The RC shall allow those Interchange Transactions using Firm Transmission Service that have been submitted prior to the NERC-approved Tag submission deadline for Reallocation (as found in current version of NERC IRO-006-4) to be initiated as scheduled. Clean: 008-3.3.1 The RC shall allow those Interchange Transactions using Firm Transmission Service that have been submitted prior to the NERC-approved Tag submission deadline for Reallocation to be initiated as scheduled.

Minor correction for Business Practice Standard WEQ-008-3.3.1.2 to change INT-004.1 to INT-004.2. Redline: 008-3.3.1.2 Reallocations for Dynamic Schedules are as follows: If an Interchange Transaction is identified as a Dynamic Schedule and the Transmission Service is considered firm according to the constrained path method, then it will not be held by the IDC during TLR level 4 or lower. Adjustments to Dynamic Schedules in accordance with current version of NERC INT-004-1INT-004-2 will not be held under TLR level 4 or lower. Clean: 008-3.3.1.2 Reallocations for Dynamic Schedules are as follows: If an Interchange Transaction is identified as a Dynamic Schedule and the Transmission Service is considered firm according to the constrained path method, then it will not be held by the IDC during TLR level 4 or lower. Adjustments to Dynamic Schedules in accordance with current version of NERC INT-004-2 will not be held under TLR level 4 or lower.

Redline 008-A Appendix A – Examples of On-Path and Off-Path Mitigation … ### Case 1: E is a Non-Firm non-firm monthly path, C Non-Firm non-firm hourly; E has Constraint at #2. - E may call RC for TLR procedure to relieve overload at Constraint #2. - Interchange Transaction A-D may be curtailed by TLR action as though it was being served by Non-Firm non-firm monthly PTP, even though it was using Non-Firm non-firm hourly PTP from C. That is, it takes on the priority of the link with the Constrained Facility or Flowgate along the Contract Path. (See Business Practice Standard WEQ-008-2.2.) ### Case 2: E is a Non-Firm non-firm hourly path, C is firm; E has Constraint at #2. - Although C is providing Firm Transmission Service, the Constraint is not on C’s system; therefore, E is not obligated to treat the Interchange Transaction as though it was being served by Firm Transmission Service. - E may call RC for TLR procedure to relieve overload at Constraint #2. - Interchange Transaction A-D may be curtailed by TLR action as though it was being served by Non-Firm non-firm hourly PTP, even though it was using Firm Transmission Service from C. That is, when the Constraint is on the Contract Path, the Interchange Transaction takes on the priority of the link with the Constrained Facility or Flowgate. (See Business Practice Standard WEQ-008-2.2.) ### Case 3: E is a Non-Firm non-firm hourly path, C is firm, B has Constraint at #1. - B may call RC for TLR procedure to relieve overload at Constraint #1. - Interchange Transaction A-D may be curtailed by TLR action as though it was being served by Non-Firm non-firm hourly PTP, even if it was using Firm Transmission Service elsewhere on the path. When the Constraint is off the Contract Path, the Interchange Transaction takes on the lowest priority reserved on the Contract Path. (See Business Practice Standard WEQ-008-2.3.) … Clean 008-A Appendix A – Examples of On-Path and Off-Path Mitigation … ### Case 1: E is a non-firm monthly path, C non-firm hourly; E has Constraint at #2. - E may call RC for TLR procedure to relieve overload at Constraint #2. - Interchange Transaction A-D may be curtailed by TLR action as though it was being served by non-firm monthly PTP, even though it was using non-firm hourly PTP from C. That is, it takes on the priority of the link with the Constrained Facility or Flowgate along the Contract Path. (See Business Practice Standard WEQ-008-2.2.) ### Case 2: E is a non-firm hourly path, C is firm; E has Constraint at #2. - Although C is providing Firm Transmission Service, the Constraint is not on C’s system; therefore, E is not obligated to treat the Interchange Transaction as though it was being served by Firm Transmission Service. - E may call RC for TLR procedure to relieve overload at Constraint #2. - Interchange Transaction A-D may be curtailed by TLR action as though it was being served by non-firm hourly PTP, even though it was using Firm Transmission Service from C. That is, when the Constraint is on the Contract Path, the Interchange Transaction takes on the priority of the link with the Constrained Facility or Flowgate. (See Business Practice Standard WEQ-008-2.2.) ### Case 3: E is a non-firm hourly path, C is firm, B has Constraint at #1. - B may call RC for TLR procedure to relieve overload at Constraint #1. - Interchange Transaction A-D may be curtailed by TLR action as though it was being served by non-firm hourly PTP, even if it was using Firm Transmission Service elsewhere on the path. When the Constraint is off the Contract Path, the Interchange Transaction takes on the lowest priority reserved on the Contract Path. (See Business Practice Standard WEQ-008-2.3.) …

- Reason for of Minor Correction/Clarification:

Changes are being submitted to reflect updates references to NERC documents and to make conforming changes based on terms documented in WEQ-000

Minor clarifications and corrections to existing standards include: (a) clarifications or corrections made by a regulatory agency to standards that are of a jurisdictional nature, or by the American National Standards Institute or its successor; (b) clarifications or corrections to the format, appearance, or descriptions of standards in standards documentation; (c) clarifications or corrections to add code values to tables; and (d) clarifications and corrections that do not materially change a standard.