Instructions:

1.	Please fill out as much of the requested information as possible.  It is mandatory to provide a contact name, phone number and fax number to which questions can be directed.  If you have an electronic mailing address, please make that available as well.

2.	Attach any information you believe is related to the request.  The more complete your request is, the less time is required to review it.

3.	Once completed, send your request to:

Rae McQuade

NAESB, President

801 Travis, Suite 1675

Houston, TX  77002

Phone:  713-356-0060

Fax:      713-356-0067

by either mail, fax, or to NAESB’s email address, naesb@naesb.org

Once received, the request will be routed to the appropriate subcommittees for review.

NAESB Correction/Clarification Procedure

Minor Clarifications and Corrections to Standards

Minor clarifications and corrections to existing standards include: (a) clarifications or corrections made by a regulatory agency to standards that are of a jurisdictional nature, or by the American National Standards Institute or its successor; (b) clarifications or corrections to the format, appearance, or descriptions of standards in standards documentation; (c) clarifications or corrections to add code values to tables; and (d) clarifications and corrections that do not materially change a standard.   Any request for a minor clarification or correction to an existing standard should be submitted in writing to the executive director. This request shall include a description of the minor clarification or correction and the reason the clarification or correction should be implemented.

1. Processing of Requests

The executive director shall promptly notify the EC and any appropriate subcommittee(s) of the receipt of the request. The members of the applicable quadrant’s EC shall promptly determine whether the request meets the definition of a minor clarification or correction. Through the decision of the vice chair of the applicable quadrant, this determination may be delegated to one of the quadrant’s subcommittees, with the concurrence of the subcommittee chair, in which case the subcommittee shall make a prompt decision.

If the request is determined to meet the definition of minor clarification or correction, the applicable quadrant’s EC, with input from any subcommittee(s) to which the request has been forwarded, shall act on the request within one month of its receipt. A meeting to discuss the request is not required; the decision may be made by notational vote. A simple majority of the votes received shall determine the outcome. The members of the applicable quadrant’s EC shall be given at least three working days to consider and vote on the request.

2. Public Notice

The results of the vote on the request for a minor clarification or correction shall be posted on the NAESB website and the members of the applicable quadrant shall be notified of the request by e-mail. If the request has been approved by the applicable quadrant’s EC, the notification shall include a brief description of the request, the contact name and number of the requester so that further information can be obtained, and the proposed effective date of the clarification or correction. Any interested party shall have an opportunity to comment on the request, and the comments shall be posted on the NAESB website.  The comment period is two weeks.

3. Final Disposition of Approved Requests

If no comments are received on an approved request, the standard shall be clarified or corrected as specified in the approved request on the effective date proposed. If comments are received, they shall be forwarded to the members of the applicable quadrant’s EC for consideration. Each comment requires a public written response from the applicable quadrant’s EC. The applicable quadrant’s EC shall determine whether changes are necessary as a result of the comments. Members of the applicable quadrant’s EC shall be given three working days to consider the comments and determine the outcome, which shall be decided by a simple majority of the votes received. A meeting to discuss the request is not required; the decision may be made by notational vote. The standard shall be clarified or corrected in accordance with the outcome of the vote, effective with the completion of voting, and notice thereof shall be posted on the NAESB website.  In the case of minor corrections which are discovered during the editorial review process of publication of a new version and are categorized as clarifications under (b) or (c) above, the proposed effective date may be (i) two weeks from the date of public notice, following simple majority approval by the applicable Quadrant(s) EC(s) of the shortened effective date, or (ii) one month from the date of the public notice  For all others, the proposed effective date of the minor clarification or correction shall normally be one month from the date of the public notice upon simple majority approval of the applicable Quadrant(s) EC(s).

| Date of Request: | September 19, 2012 |
| --- | --- |

- Submitting Entity & Address:

JT Wood

Southern Company Services, Inc.

600 North 18th Street

Birmingham, AL 35291-8210

- Contact Person, Phone #, Fax #, Electronic Mailing Address:

| Name: |  | JT Wood |
| --- | --- | --- |
| Title: |  | Reliability Standards Project Manager |
| Phone: |  | 205-769-7328 |
| Fax: |  | 205-769-7344 |
| E-mail: |  | jtwood@southernco.com |

3.  Version and Standard Number(s) suggested for correction or clarification:

NAESB WEQ Business Practice Standards, Version 003: NAESB Business Practice Standards WEQ-001 Open Access Same-Time Information Systems (OASIS), Version 2.0 NAESB Business Practice Standards WEQ-002 Open Access Same-Time Information Systems (OASIS) and Communication Protocol (S&CP), Version 2.0 NAESB Business Practice Standards WEQ-003 Open Access Same-Time Information Systems (OASIS) Data Dictionary, Version 2.0 NAESB Business Practice Standards WEQ-013 Open Access Same-Time Information Systems (OASIS) Implementation Guide, Version 2.0

4.  Description of Minor Correction/Clarification including redlined standards corrections:

NAESB Business Practice Standards WEQ-001 Open Access Same-Time Information Systems (OASIS), Version 2.0 001-22.2 The Transmission Provider shall post all scheduled use of CBM and any Curtailments of those schedules in accordance with NAESB Business Practice Standards WEQ-002 and WEQ-013 such that these schedules may be queried, viewed and audited using the scheduledetail OASIS Ttemplate. NAESB Business Practice Standards WEQ-002 Open Access Same-Time Information Systems (OASIS) and Communication Protocol (S&CP), Version 2.0 002-4.2.7.4 Data Records Data records immediately follow the standard input or response header records. With the exception of data records grouped together as a single "logical record" through the use of Continuation Records, each data record in a CSV formatted input message represents a single, complete execution of the associated OASIS Template. That is, sending five CSV formatted input messages for a given OASIS Template to the same PRIMARY_PROVIDER_CODE with a single data record per message shall be handled in exactly the same fashion as sending a single CSV formatted input message for the same OASIS Template and PRIMARY_PROVIDER_CODE which contains five data records. Each field (column) within each data record defines the value to be associated with the corresponding Data Element defined in the COLUMN_HEADERS record. The number of data records in the message is defined by the DATA_ROWS header record. The data values associated with each column Data Element are interpreted based on the Data Element type as defined in the OASIS Data Dictionary: 002-4.2.10.4 Use of Comments PTP and ancillary service reservation OASIS Ttemplates support the following text Data Elements to be used to communicate information between parties (i.e., Transmission Provider, Reseller, and Transmission Customer) to a transaction: 002-4.3.1 Template Summary The following table provides a summary of the process areas, and OASIS Templates to be used by users to query information that will be downloaded or to upload information to the Transmission Provider’s OASIS. These processes define the functions that must be supported by an OASIS Node related to the general OASIS, PTP and related ancillary service information. 002-4.3.4.3 Transmission Reservation Reduction (reduction) ….. If required by tariff or regulations, this OASIS Ttemplate is also used to document the periods of time when the Transmission Provider reduces the service Curtailment priority for CCO Reservation (i.e., System Impact Study CCO) due to either a change in system conditions or service term over which the priority of service is reduced from Firm Transmission Service priority 7, to Non-Firm Transmission Service priority 6. …... In response to a reduction OASIS Template query, each primary record returned (CONTINUATION_FLAG = N) shall include the ASSIGNMENT_REF, CAPACITY_GRANTED and CAPACITY_AVAILABLE in MWs over the interval from START_TIME to STOP_TIME. CAPACITY_GRANTED is derived from the transmission reservation's CAPACITY_GRANTED. CAPACITY_AVAILABLE is derived from the transmission reservation’s CAPACITY_GRANTED less all reductions (if any) in reserved capacity (if any) over the interval from START_TIME to STOP_TIME as specified in the CAPACITY_REDUCED (as negative valued MWs) Data Element. REDUCTION_TYPE, REDUCTION_REASON, IMPACTING_REF, CAPACITY_REDUCED, and NERC_CURTAILMENT_PRIORITY shall be null in each primary record returned in the reduction OASIS Ttemplate response; these Data Elements shall be reported in Continuation Records, as appropriate, documenting all reductions in capacity and/or service Curtailment priority that are in effect over the START_TIME/STOP_TIME Interval. 002-4.3.4.4 System Data (systemdata) …. Narratives related to specific changes in posted TTC/TFC and/or ATC values shall be denoted by the SYSTEM_ATTRIBUTE of ZERO_FATC_NARRATIVE, ZERO_NFATC_NARRATIVE, FATC_CHANGES_NARRATIVE, or NFATC_CHANGE_NARRATIVE, and the specific narrative corresponding to the TTC/TFC/ATC postings shall be placed in the ANNOTATION Data Element. The specific values for TTC and/or ATC are posted under the systemdata OASIS Ttemplate for the SYSTEM_ATTRIBUTES of TTC, FATC and NFATC, etc. 002-4.3.6.2.1 Renewal Provisions (rollover) The Renewal Provisions (rollover) OASIS Ttemplate provides users with additional information related to the specific provisions for exercising the right to renewal/rollover the associated Transmission Service reservation. …. If there is no additional renewal/rollover information associated with a reservation selected via the query parameters, there will be no record returned in the OASIS Ttemplate response for that reservation. The query parameters below are to be applied in the same way as to the associated reservation Data Elements as defined in the transstatus OASIS Ttemplate to select the specific reservations whose renewal/rollover information is to be returned. 002-4.3.6.2.2 CCO Provisions (cco) The CCO provisions (cco) OASIS Ttemplate provides users with additional information related to the specific provisions of a CCO Reservation. The query parameters associated with this OASIS Ttemplate may be specified by the user to limit the set of service reservations whose CCO provisions are to be returned in the OASIS Ttemplate response. …. The query parameters below are to be applied in the same way as to the associated reservation Data Elements as defined in the transstatus OASIS Ttemplate to select the specific reservations whose CCO Reservation information is to be returned. 002-4.3.6.2.3 Coordinated Group Status (cgstatus) The Coordinated Group Status (cgstatus) query OASIS Ttemplate provides users with additional information related to a Coordinated Request’s associated transmission requests and any reservations, if applicable, that have been submitted as the Coordinated Group. The query parameters associated with this OASIS Ttemplate may be specified by the user to limit the set of service requests or reservations whose Coordinated Group information is to be returned in the OASIS Ttemplate response. If there is no Coordinated Group information associated with the request(s) or reservation(s) selected via the query parameters, no records will be returned in the OASIS Ttemplate response for that request/reservation. 002-4.3.10.4 Personnel Transfers (personnel) The Personnel Transfers (personnel) OASIS Template is used to post a notice of a transfer of a transmission function employee to a position as a marketing function employee, or a transfer of a marketing function employee to a position as a transmission function employee, as described in 18 CFR Part 358. The personnel OASIS Ttemplate is an optional OASIS Ttemplate to be implemented at the Transmission Provider’s discretion. 002-4.3.10.5 Discretion (discretion) The Discretion (discretion) OASIS Template is used to post a notice of a waiver of a tariff provision that a Transmission Provider grants in favor of an Affiliate, as described in 18 CFR Part 358. The discretion OASIS Ttemplate is an optional OASIS Ttemplate to be implemented at the Transmission Provider’s discretion. 002-4.3.10.6 Standards of Conduct (stdconduct) The Standards of Conduct (stdconduct) OASIS Template indicates when information is disclosed in a manner contrary to the Standards of Conduct, as described in 18 CFR Part 358. The stdconduct OASIS Template is an optional OASIS Ttemplate to be implemented at the Transmission Provider’s discretion. 002-4.3.11 OASIS Audit Log …. *A Transmission Provider is only required to implement the audit log OASIS Ttemplates personnelaudit, discretionaudit, and stdconductaudit if and when the Transmission Provider also uses the personnel, discretion, stdconduct OASIS Ttemplates for posting Standards of Conduct information required under 18 CFR Part 358. 002-4.3.11.3.1 CSV Response Header Records …. Immediately following the MODIFYING_NAME column header, each of the standard non-audit counterpart OASIS Template's Data Elements shall be listed in the exact sequence defined for that non-audit OASIS Template. Finally, OASIS implementations may include additional Data Elements identified by unique column headers appended after the fixed audit and standard OASIS Template Data Elements. These additional Data Elements may be used to convey implementation specific information maintained in the OASIS database in association with the data being audited. 002-4.3.11.5 Special Audit OASIS Template Considerations Transoffering …. For those OASIS implementations that handle TTC/ATC information separately from the posting of commercial offers of service, audit reports generated by the transofferingaudit OASIS Template may be limited to only reporting changes to the Data Elements associated with the commercial aspects of the offer (e.g., OFFER_PRICE, OFFER_START_TIME, etc.), and may return a null value for the CAPACITY Data Element. These OASIS Nodes shall use the systemdataaudit OASIS Template audit reporting facility to allow for the full auditing of changes made to TTC and ATC postings as required under FERC regulations. Scheduledetail The scheduledetail OASIS Template combines information from one or more transmission reservations and transmission security event postings (e.g., TLRs) with information posted on actual scheduled use of the transmission system. Audit information related to changes made to a given transmission reservation shall be auditable using the transstatusaudit OASIS Template. Audit information related to the posting of transmission security events that led to a Curtailment or interruption of service, or the denial of a request to schedule service shall be auditable using the securityaudit OASIS Template. Therefore, the scheduledetailaudit OASIS OASIS Template shall only be required to report changes to the following Data Elements associated with the scheduledetail OASIS Template: 002-4.5.1 INFO.HTM When a regulatory order requires informational postings on OASIS and there is no OASIS S&CP OASIS Ttemplate to support the postings or it is deemed inappropriate to use a OASIS Ttemplate, or the location of the posting has not been specified in Business Practice Standard WEQ-001-13, there shall be a reference in INFO.HTM to the required information, including, but not limited to, references to the following: NAESB Business Practice Standards WEQ-003 Open Access Same-Time Information Systems (OASIS) Data Dictionary, Version 2.0 AS_TYPE; ASTYPE; 1{ALPHANUMERIC}20; Valid Values: SC RV RF EI SP SU GI DT TL BS {Registered}; SC – Scheduling, system Control and Dispatch RV – Reactive Supply and Voltage Control RF – Regulation and Frequency Response EI – Energy Imbalance SP – Spinning Reserve SU – Supplemental Reserve GI – Generator Imbalance DT – Dynamic Transfer TL – Real power Transmission Loss BS – System Black Start Capability {Registered} – must be registered in the EIR and listed in the ancserv OASIS Template. CATEGORY; CAT; 0{ALPHANUMERIC}25; Valid name from CATEGORY in list OASIS Template; A name to be used to categorize messages. Valid names would include: want-ad, Curtailment, Outage, OASIS_Maintenance_Outage.. COLUMN_HEADERS; HEADERS; 1{ALPHANUMERIC} Limited to all the Data Elements names in one OASIS Template; Headers separated by commas. Limited to valid OASIS Template Data Element names. Must use full Data Element name and not alias.; Example: COLUMN_HEADERS=PATH_NAME,POI NT_OF_RECEIPT,POINT_OF_DELIVERY, SOURCE,SINK. DATA; DATA; 0{ALPHA}50; Valid values: Any of the valid NITS Query/Response OASIS Data Template names as specified in WEQ-002; Query variable specifying a valid NITS Query/Response OASIS Data Template name whose associated Data Elements are to be returned in the query template response.. DISCRETION_DESCRIPTION; DISCDESC; 0{ALPHANUMERIC}1000; Free form text; A detailed description of the waiver being posted. The discretion OASIS Ttemplate and the related DISCRETION_DESCRIPTION Data Element are an optional implementation at the Transmission Provider’s discretion.. ELEMENT_NAME; ELEMENT; 1{ALPHANUMERIC}40; Valid OASIS Template element name; OASIS Template element name as indicated in OASIS Data Dictionary.. EMPLOYEE_NAME; EMPNAME; 1{ALPHANUMERIC}25; Free form text; Name of person who is transferring from one position to another. The personnel OASIS Ttemplate and the related EMPLOYEE_NAME Data Element are an optional implementation at the Transmission Provider’s discretion.. FACILITY_CLASS; FACLASS; 0{ALPHANUMERIC}25; Free form text, for example: TRANSFORMER, LINE, FLOWGATE or as defined in the list OASIS Template; Type of limiting device such as ‘transformer’, ‘line’ or ‘Flowgate’. FACILITY_LIMIT_TYPE; FACLIMTYP; 0{ALPHANUMERIC}25; Free form text, for example: thermal, stability, voltage or as defined in list OASIS Template; For example: thermal, stability, voltage. FACILITY_LOCATION; FACLOC; 0{ALPHANUMERIC}8; Free form text, for example: INTERNAL EXTERNAL Or as defined in the list OASIS Template; Location of facility that caused the interruption, either internal to the TP or external to the TP grid.. FORMER_COMPANY; FORMCO; 1{ALPHANUMERIC}25; Free form text; Former company of the person who is transferring. The personnel OASIS Ttemplate and the related FORMER_COMPANY Data Element are an optional implementation at the Transmission Provider’s discretion.. FORMER_DEPARTMENT; FORMDEPT; 1{ALPHANUMERIC}52; Free form text; Former department of the person who is transferring. The personnel OASIS Ttemplate and the related FORMER_DEPARTMENT Data Element are an optional implementation at the Transmission Provider’s discretion.. FORMER_POSITION; FORMPOS; 1{ALPHANUMERIC}25; Free form text; Former position held by the person who is transferring. The personnel OASIS Ttemplate and the related FORMER_POSITION Data Element are an optional implementation at the Transmission Provider’s discretion.. INPUT_STATUS; INSTATUS; 1{NUMERIC}3; Error number; Value indicating success/failure of OASIS to process the submitted NITS OASIS INPUT Template; 200 = Success. Failure indicates that some portion of the uploaded OASIS INPUT Ttemplate was malformed.. MODIFYING_COMPANY_CODE; MODCODE; 1{ALPHANUMERIC}6; Registered company code for a TP, SC or CA; Contains the registered company code that modified the transaction, used in the audit OASIS Templates.. MODIFYING_NAME; MODNAME; 0{ALPHANUMERIC}25; Free form text; Contain the name of the person that modified the transaction, used in the audit OASIS Templates.. NERC_CURTAILMENT_PRIORITY; NERCURT; 1{INTEGER}1; Integer; One of the NERC Curtailment priorities, documented in list OASIS Template.. NEW_COMPANY; NEWCO; 1{ALPHANUMERIC}25; Free form text; New company of the person who is transferring. The personnel OASIS Ttemplate and the related NEW_COMPANY Data Element are an optional implementation at the Transmission Provider’s discretion.. NEW_DEPARTMENT; NEWDEPT; 1{ALPHANUMERIC}52; Free form text; New department of the person who is transferring. The personnel OASIS Ttemplate and the related NEW_DEPARTMENT Data Element are an optional implementation at the Transmission Provider’s discretion.. NEW_POSITION; NEWPOS; 1{ALPHANUMERIC}25; Free form text; New position held by the person who is transferring. The personnel OASIS Ttemplate and the related NEW_POSITION Data Element are an optional implementation at the Transmission Provider’s discretion.. OTHER_CURTAILMENT_PRIORITY; OTHCUR; 0{ALPHANUMERIC}8; Valid Values: {Registered}; Other than NERC Curtailment priorities, such as regional Curtailment priorities. Suggested format region+number, for example MRO4, WECC7. Documented in list OASIS Template and registered with central EIR.. PRECONFIRMED; PRECONF; 2{ALPHA}3; Valid Values: YES NO; Used by Transmission Customer to preconfirm sale in OASIS Templates transrequest or ancrequest. If Transmission Customer indicates sale is preconfirmed, then the response is YES and the Transmission Customer does not need to confirm the sale.. RECORD_TYPE; RECTYPE; 1{ALPHA}1; Valid Values: I U D; Indicates the type of information reported in a response record generated by an audit OASIS Template. "I" designates information as it was initially inserted (posted) on OASIS; "U" designates information updated (modified) on OASIS; "D" designates deleted information as it appeared on OASIS just prior to being deleted (as appropriate).. REQUEST; REQ; 0{ALPHA}50; Valid values: Any of the valid NITS Input/Response OASIS Request Template names as specified in WEQ-002; Query variable specifying a valid NITS Input/Response OASIS Request Template names whose associated Data Elements are to be returned in the query template response.. RESPONSIBLE_PARTY _NAME; PARTNAME; 1{ALPHANUMERIC}25; Free form text; The name of the person responsible for granting the waiver. The discretion OASIS Ttemplate and the related RESPONSIBLE_PARTY_NAME Data Element are an optional implementation at the Transmission Provider’s discretion.. SECURITY_REF; SECREF; 1{ALPHANUMERIC}10; Unique value; Unique value generated by company initiating the security for each security event in the security OASIS Template.. SERVICE_INCREMENT; SRVINCR; 1{ALPHANUMERIC}8; Valid Values: HOURLY DAILY WEEKLY MONTHLY YEARLY {Registered}; The Transmission Service increments provided. Five are pre-defined, while additional increments can be used if they are registered in the EIR and shown in the Transmission Provider's list OASIS Template.. STANDARDS_OF_CONDUCT_ISSUES; STDISSUE; 0{ALPHANUMERIC}800; Free form text; Information disclosures that were in violation of the FERC Standards of Conduct described in 18 CFR, Part 358. This text may include a reference pointer to a more detailed description. The stdconduct OASIS Template and the related STANDARDS_OF_CONDUCT_ISSUES Data Element are an optional implementation at the Transmission Provider’s discretion.. START_TIME; STIME; 16{ALPHANUMERIC}16; Valid date and time to seconds: yyyy+mo+dd+hh +mm+ss+tz; Start date and clock time of a service. When used as a Query Variable, it requires the return of all items whose Stop time is after the Start time. Note that for some OASIS Templates when used as a Query Variable the time may be only valid up to the hour, day or month. If more data is given than is valid, the hour, day or month will be used to make the date and time inclusive, i.e. date or time will be truncated to valid hour, day or month.. STOP_TIME; SPTIME; 16{ALPHANUMERIC}16; Valid date and time yyyy+mo+dd+hh +mm+ss+tz; Stop date and clock time. When used as a Query Variable, it requires the return of all items which start before the stop time. Note that for some OASIS Templates when used as a Query Variable the time may be only valid up to the hour, day or month. If more data is given than is valid, the hour, day or month will be used to make the date and time inclusive, i.e. date or time will be increased to include STOP_TIME.. SYSTEM_ATTRIBUTE; SYSATTR; 0{ALPHANUMERIC}20; Valid Values: CBM FTRM NFTRM TTC FATC NFATC FGF NFGF ATC_ANNOTATION ZERO_FATC_NARRATIVE ZERO_NFATC_NARRATIVE FATC_CHANGE_NARRATIVE NFATC_CHANGE_NARRATIVE ZONE_FORECASTED_LOAD SYSTEM_FORECASTED_LOAD NATIVE_FORECASTED_LOAD ZONE_ACTUAL_LOAD SYSTEM_ACTUAL_LOAD NATIVE_ACTUAL_LOAD {Registered}; Type of system data viewed by systemdata OASIS Ttemplate: CBM FTRM – TRM for use in FATC NFTRM – TRM for use in NFATC TTC – Total Transmission Capability FATC – Firm Available Transmission Capability NFATC – Non-firm Available Transmission Capability FGF – Firm Grandfathered firm Transmission Service NFGF – Non-firm Grandfathered Transmission Service ATC_ANNOTATION – Annotation for a change in monthly or yearly posted ATC (no longer used replaced by ZERO_FATC_NARRATIVE, ZERO_NFATC_NARRATIVE, FATC_CHANGE_NARRATIVE, NFATC_CHANGE_NARRATIVE) ZERO_FATC_NARRATIVE – Narrative when a posted firm monthly or yearly ATC value remains unchanged at a value of zero ZERO_NFATC_NARRATIVE – Narrative when a posted non-firm monthly or yearly ATC value remains unchanged at a value of zero FATC_CHANGE_NARRATIVE – Narrative when a posted firm monthly or yearly ATC changes as a result of a 10 percent change in TTC/TFC NFATC_CHANGE_NARRATIVE – Narrative when a posted non-firm monthly or yearly ATC changes as a result of a 10 percent change in TTC/TFC ZONE_FORECASTED_LOAD – Anticipated Forecasted Daily Zonal Load SYSTEM_FORECASTED_LOAD – Anticipated Forecasted Daily System-Wide Peak Load. TEMPLATE; TEMPL; 1{ALPHANUMERIC}20; Valid name of Template from Business Practice Standard WEQ-002-4.3.1 or from list OASIS Template; The name of a logical collection of DATA_ELEMENTS in a user's interaction with an OASIS Node.. TS_CLASS; TSCLASS; 1{ALPHANUMERIC}20; Valid Values: FIRM NON-FIRM TTC SECONDARY {Registered}; The Transmission Service classes provided. Four are pre-defined, while additional classes can be used if they are registered on www.tsin.com and shown in the Transmission Provider's list OASIS Template page. SECONDARY is defined as alternate PORs or PODs for POINT_TO_POINT, or as non-designated resources for NETWORK service. TTC is retained as a Valid Value for historical purposes only.. TS_PERIOD; TSPER; 1{ALPHANUMERIC}20; Valid Values: ON_PEAK OFF_PEAK FULL_PERIOD {Registered}; The Transmission Service periods provided. Three are pre-defined, while additional periods can be used if they are registered on www.tsin.com and shown in the Transmission Provider's list OASIS Template.. TS_TYPE; TSTYPE; 1{ALPHANUMERIC}20; Valid Values: POINT_TO_POIN T NETWORK ATC {Registered}; The Transmission Service types provided. Three are pre- defined, while additional types can be used if they are registered on www.tsin.com and shown in the Transmission Provider's list OASIS Template. ATC is retained as a Valid Value for historical purposes only.. TS_WINDOW; TSWIND; 1{ALPHANUMERIC}20; Valid Values: FIXED SLIDING EXTENDED NEXT_INCREME NT {Registered }; The Transmission Service windows provided. Four are pre-defined, while additional windows can be used if they are registered on www.tsin.com and shown in the Transmission Provider's list OASIS Template.. NAESB Business Practice Standards WEQ-013 Open Access Same-Time Information Systems (OASIS) Implementation Guide, Version 2.0 WEQ-013-3 Specific OASIS Template Implementation Pages 47-61 013-2 OASIS TRANSACTION PROCESSING …. a. The transrequest and ancrequest OASIS Ttemplates shall be used by the Transmission Customer to enter a transaction request for specific Transmission Services or ancillary services from a specified Seller. All pertinent transaction-specific information must be provided in the OASIS Ttemplate Data Elements. - b. The transstatus and ancstatus OASIS Ttemplates shall be used by both Transmission Customer and Seller to query for the current transaction information (e.g., STATUS). Alternatively, the Transmission Customer may request dynamic notification per Business Practice Standard WEQ-002-4.2.10.3 whenever the transaction data is changed. c. The transsell and ancsell OASIS Ttemplates shall be used by the Seller to indicate to the Transmission Customer whether the request is acceptable or not by setting the transaction STATUS to one of RECEIVED, INVALID, STUDY, COUNTEROFFER, CR_COUNTEROFFER, ACCEPTED, CR_ACCEPTED, REFUSED, SUPERSEDED, DECLINED, DISPLACED, ANNULLED, or RETRACTED. A Transmission Provider as the Seller may use the transsell and ancsell OASIS Ttemplates to act on requests or may use proprietary software solutions to perform this function in a similar manner. d. The transcust and anccust OASIS Ttemplates shall be used by the Transmission Customer to indicate to the Seller whether they wish to negotiate, confirm or withdraw the transaction by setting the transaction STATUS to one of REBID, CONFIRMED, or WITHDRAWN. e. The transassign and ancassign OASIS Ttemplates shall be used by the Seller to notify the Transmission Provider of the transfer of rights from the Seller to the Transmission Customer consummated off the OASIS Node. Exhibit 1 Transaction OASIS Template Usage Diagram 013-2.1 Transaction Request Types The following are the valid OASIS transaction request types (OASIS Ttemplate Data Element REQUEST_TYPE) that may be submitted by the Transmission Customer unless otherwise noted, along with a brief description of their intended use: 013-2.3 Basic OASIS Transaction Handling Requests to reserve or purchase Transmission Service or ancillary service shall be submitted to OASIS by the Transmission Customer via the transrequest or ancrequest OASIS Ttemplates. …. Once successfully submitted on OASIS, the Seller may take any of the following actions via the transsell/ancsell OASIS Ttemplates: - Acknowledge receipt by setting STATUS to RECEIVED or STUDY - Deny the request by setting STATUS to INVALID, DECLINED, or REFUSED - Approve the request by setting STATUS to ACCEPTED, CR_ACCEPTED, COUNTEROFFER or CR_COUNTEROFFER …. Once the Seller approves the request, the Transmission Customer may take any of the following actions via the transcust/anccust OASIS Ttemplates: - Withdraw the request - Continue negotiation of the request by setting STATUS to REBID - Complete the request by setting STATUS to CONFIRMED 013-2.4.1 Displacement – No Right of First Refusal …. If only a portion of the confirmed reservation's capacity is required to accommodate the higher priority request, the Transmission Provider shall document the recall of reserved capacity from the lower priority confirmed reservation by incrementing the IMPACTED counter on that reservation and posting on OASIS the amount and time frames over which that reservation's capacity was reduced, i.e., a partial displacement. The Transmission Customer may view all impacts to existing Transmission Service reservations (e.g., partial displacements, secondary sales, etc.) using the reduction OASIS Ttemplate. 013-2.4.2 Displacement – With Right of First Refusal …. If the existing Transmission Customer elects to meet the terms and conditions of the competing request, that Transmission Customer shall submit a new MATCHING reservation request using the transrequest OASIS Ttemplate. The specific requirements associated with submission of MATCHING requests are detailed in Business Practice Standard WEQ-013-2.6.3. 013-2.5 TRANSMISSION Provider Recalls …. The Transmission Provider shall provide a mechanism to post on OASIS any such reductions or recalls in reserved capacity. The Transmission Customer shall be notified of any and all such reductions in reserved capacity by the incrementing of the IMPACTED counter in association with those reservations that are reduced; the IMPACTED flag is viewable with the transstatus OASIS Ttemplate. Specific information regarding the exact nature of each reduction in the reserved capacity under a given Transmission Service reservation shall be posted and viewable with the reduction OASIS Ttemplate. A specific example of a Transmission Provider initiated recall of reserved capacity is the implementation of a partial displacement of a Transmission Service reservation. In this instance, the Transmission Customer has not elected (or was not required to be offered) to match the terms of a higher priority, competing request. The Transmission Provider recalls that capacity necessary to accommodate the higher priority request from the existing lower priority reservation. The IMPACTED counter of that reservation is incremented, and a query using the reduction OASIS Ttemplate for that reservation would show the Transmission Customer the amount and time-frame over which the Transmission Customer's reserved capacity was recalled by the Transmission Provider. Interruption of Transmission Service, where that interruption directly impacts the rights of the Transmission Customer to schedule any service under that reservation, is another example of an impact to reserved capacity that would be posted as a Transmission Provider initiated recall of reserved capacity. Secondary market sales of Transmission Service rights are not examples of a Transmission Provider initiated recall of reserved capacity, but the impact of any such sales shall also be returned in response to execution of the reduction OASIS Ttemplate. The Transmission Provider may elect to post recalls of reserved capacity using the OASIS REQUEST_TYPE of RECALL. Documenting Transmission Provider initiated recalls of capacity with a recall request is optional; posting the impacts of those recalls to be made available under the reduction OASIS Ttemplate is mandatory. If the recall request is used by the Transmission Provider, its use must be implemented in compliance with the Business Practices for recall requests. 013-2.6 Transaction Specific Handling The following Business Practice Standards WEQ-013-2.6.1 through WEQ-013-2.6.4.1 identify specific OASIS Data Elements and processing requirements that must be implemented by OASIS and/or associated back-end support systems. The results of all transaction processing shall be viewable by all appropriate entities via the transstatus/ancstatus OASIS Ttemplates and corresponding OASIS user interface. 013-2.6.1 ORIGINAL Requests …. ROLLOVER_WAIVED; If the Transmission Customer does not wish a Long-Term Firm Point-to-Point Transmission Service request to be evaluated for conveyance of rollover rights, the Transmission Customer must submit the request with the ROLLOVER_WAIVED data element set to ‘Y’ in the transrequest OASIS Ttemplate.. CG_STATUS; If the Transmission Customer wishes this request to be a Coordinated Request associated with a Coordinated Group, the Transmission Customer must submit the request with the CG_STATUS data element set to PROPOSED in the transrequest OASIS Ttemplate.. …. The Transmission Customer may submit a time varying profile of capacity as allowed by the Transmission Provider’s Business Practice by repeating the OASIS Ttemplate Data Elements of BID_PRICE, CAPACITY_REQUESTED, START_TIME and STOP_TIME in template continuation records. The segments of any submitted profile must not overlap in time. ,… - If the Transmission Customer does not wish a long-term firm PTP Transmission Service request to be evaluated for conveyance of rollover rights, the Transmission Customer must submit the request with the ROLLOVER_WAIVED data element set to Y in the transrequest OASIS Ttemplate. If the Transmission Customer wishes this request to be a Coordinated Request associated with a Coordinated Group, the Transmission Customer must submit the request with the CG_STATUS data element set to “PROPOSED” in the transrequest OASIS Ttemplate. Additional requirements for handling Coordinated Requests are specified in Business Practice Standard WEQ-013-2.6.9. 013-2.6.1.1 Offering of Partial Service …. The Transmission Customer shall recognize the offer of Partial Service by CAPACITY_GRANTED not being equal to CAPACITY_REQUESTED and the request STATUS of COUNTEROFFER or CR_COUNTEROFFER. The Transmission Customer may elect to set the request STATUS to CONFIRM, WITHDRAW, or REBID for the Partial Service using the transcust OASIS Ttemplate. To rebid for Partial Service the Transmission Customer shall specify the revised START_TIME, STOP_TIME, CAPACITY_REQUESTED and BID_PRICE values and set the request STATUS to REBID using the transcust OASIS Ttemplate. OASIS shall restrict CAPACITY_REQUESTED on a rebid to not exceed the Seller’s most recent CAPACITY_GRANTED over time. 013-2.6.1.2 Negotiation of Price Negotiation of price is initiated by the Transmission Customer submitting a service request (via transrequest/ancrequest OASIS Ttemplates) with a BID_PRICE that is different (higher or lower) from the currently posted offer price, or the tariff rate, for that service. The following negotiation process is required where the Seller is the Transmission Provider. Resales or Transfers between Transmission Customers may use this process, but there is no obligation on the (Re)Seller to offer a negotiated rate to other Transmission Customers. If the Seller determines that the BID_PRICE is acceptable, the following actions must be taken (via transsell/ancsell OASIS Ttemplates): - Update the currently posted offer price for the service requested and all other applicable services offered as dictated by current discounting policy (e.g., all unconstrained paths to the same POD) to match BID_PRICE; - Update the request’s NEGOTIATED_PRICE_FLAG to L or H if the BID_PRICE was lower than or higher than, respectively, the posted price when the request was submitted; - Set the OFFER_PRICE equal to the BID_PRICE; - Set the CAPACITY_GRANTED appropriately (if left null or undefined, OASIS shall set CAPACITY_GRANTED equal to CAPACITY_REQUESTED when STATUS is set to ACCEPTED or CR_ACCEPTED); - Set the request STATUS to ACCEPTED or CR_ACCEPTED (or COUNTEROFFER or CR_COUNTEROFFER if offering Partial Service) The Transmission Customer may then confirm the purchase or withdraw the request by updating the request STATUS (via transcust/anccust OASIS Ttemplates). If the Seller determines that the BID_PRICE is unacceptable, and negotiation of price is not going to be entertained, the Seller shall set the request STATUS to DECLINED (via transsell/ancsell OASIS Ttemplates): If the Seller elects to enter into price negotiation, the following actions must be taken (via transsell/ancsell OASIS Ttemplates): - If the price to be counter offered by the Transmission Provider to the Transmission Customer is different than the currently posted offer price: - Update the currently posted offer price for the service requested and all other applicable services offered as dictated by current discounting policy (e.g., all unconstrained paths to the same POD) to match the price to be counteroffered; - Update the request’s NEGOTIATED_PRICE_FLAG to L or H if the price to be counter offered is lower than or higher than, respectively, the posted price when the request was submitted; - Set the OFFER_PRICE and CAPACITY_GRANTED appropriately; - Set the request STATUS to COUNTEROFFER or CR_COUNTEROFFER. The Transmission Customer may then confirm the purchase, withdraw the request, or propose a new BID_PRICE by performing the following (via transcust/anccust OASIS Ttemplates): - Update the request BID_PRICE appropriately; Set the request STATUS to REBID or CONFIRMED. 013-2.6.1.3 Rollover Rights For Transmission Services that have ongoing rollover or renewal rights, the Transmission Provider shall document those rights and any limitations over time through the rollover OASIS Ttemplate Data Elements RENEWAL_DUE_TIME, ROLLOVER_ELIGIBLE, ROLLOVER_START_TIME, ROLLOVER_STOP_TIME, and ROLLOVER_CAPACITY. The Transmission Provider must also flag that the Transmission Service request/reservation has associated rollover rights by setting the transstatus OASIS Ttemplate PRIMARY_PROVIDER_PROVISIONS Data Element to Y. The ROLLOVER_ELIGIBLE Data Element is equivalent to the Capacity Eligible for Rollover or conveyance of rollover rights to a qualified Redirect on a Firm basis; the ROLLOVER_CAPACITY Data Element is equivalent to the remaining Unexercised Rollover Rights available over time. Continuation records shall be used if the ROLLOVER_CAPACITY value changes as a function of time by listing each applicable time interval and capacity eligible for rollover/renewal in the ROLLOVER_START_TIME, ROLLOVER_STOP_TIME and ROLLOVER_CAPACITY Data Elements. The first value for ROLLOVER_START_TIME shall be set to the value of the latest STOP_TIME value associated with the request/reservation as shown in the transstatus OASIS Ttemplate response, (i.e., rollover OASIS Ttemplate response records begin at the end of the Transmission Service requested/reserved). If there is no limitation on rollover rights, ROLLOVER_STOP_TIME shall be null and the ROLLOVER_CAPACITY shall indicate the capacity eligible for rollover for all future time. On confirmation of any Renewal request or request to Redirect on a Firm basis with rollover rights, the values for the ROLLOVER_ELIGIBLE, ROLLOVER_START_TIME, ROLLOVER_STOP_TIME, and ROLLOVER_CAPACITY Data Elements shall be updated and returned in response to the rollover OASIS Ttemplate query. 013-2.6.1.4 CCO For Transmission Services that are subject to a CCO Reservations, the Transmission Provider shall set the PRIMARY_PROVIDER_PROVISIONS Data Element to Y and provide documentation on the nature of the CCO such that this information may be queried and viewed using the cco OASIS Ttemplate. Prior to or upon confirming a Transmission Service reservation with a CCO, the Transmission Provider shall make available the information required in the cco OASIS Ttemplate CONDITIONAL_CURTAILMENT_OPTION, SERVICE_DESCRIPTION and REASSESSMENT_END_TIME_Data Elements. REASSESSMENT_END_TIME must reflect the date and time that the current CCO conditions may be subject to change as a result of a Biennial Reassessment performed by the Transmission Provider. If the CCO Reservation is not subject to a Biennial Reassessment or is shorter than two years in duration, REASSESSMENT_END_TIME shall be null. If the CCO Reservation is subject to the Number-of-Hours Criteria (CONDITIONAL_CURTAILMENT_OPTION = “HOURS”), the Transmission Provider must indicate the maximum number of actual hours that service may be curtailed at the Conditional Curtailment Priority Level over a specified measurement interval set by the CONDITIONAL_START_TIME/CONDITIONAL_STOP_TIME Data Elements. If there is more than one such interval during the current service period up to the next REASSESSMENT_END_TIME, each such interval shall be returned in cco OASIS Ttemplate continuation records containing the CONTINUATION_FLAG, ASSIGNMENT_REF, CONDITIONAL_START_TIME, CONDITIONAL_STOP_TIME, MAXIMUM_HOURS and ACCUMULATED_HOURS Data Elements. The Transmission Provider shall update the ACCUMULATED_HOURS Data Element with the current cumulative number of hours service under the CCO Reservation was actually curtailed at the Conditional Curtailment Priority Level for that interval. Once the accumulation CONDITIONAL_START_TIME/CONDITIONAL_STOP_TIME interval has expired, the final ACCUMULATED_HOURS over that interval shall be retained and returned in the cco OASIS Ttemplate response as the historical record of Curtailments made against the CCO Reservation over time. For CCO Reservations subject to Biennial Reassessment, the Transmission Provider shall update any new accumulation interval and/or change in maximum Curtailment hours through the end of the next reassessment interval by updating the REASSESSMENT_END_TIME, CONDITIONAL_START_TIME, CONDITIONAL_STOP_TIME, MAXIMUM_HOURS and ACCUMULATED_HOURS Data Elements returned in the response to a query issued for the cco OASIS Ttemplate. This information shall be provided at the same time that the reassessment study report is issued to the Transmission Customer, If the CCO Reservation is subject to the System-Conditions Criteria (CONDITIONAL_CURTAILMENT_OPTION = “CONDITIONS”), the Transmission Provider may, at their option, return information on the accumulated number of hours service was actually curtailed using the corresponding cco OASIS Ttemplate Data Elements. For these CCO Reservations, the MAXIMUM_HOURS Data Element will be returned as a null value. Each confirmed PART_ TRANSFER or FULL_TRANSFER reservation made against a CCO Reservation shall also be a CCO Reservation. Upon acceptance of a full Transfer of a CCO Reservation, the Transmission Provider shall set the PRIMARY_PROVIDER_PROVISIONS Data Element to “Y” for the Transfer, populate the cco OASIS Ttemplate and assign the ACCUMULATED_HOURS of the Parent Reservation to the Transfer. Each subsequent Curtailment shall be accumulated against the Transfer only. Upon acceptance of a partial Transfer of a CCO Reservation, the Transmission Provider shall set the PRIMARY_PROVIDER_PROVISIONS Data Element to “Y” for the Transfer, populate the cco OASIS Ttemplate and copy the ACCUMULATED_HOURS of the Parent Reservation to the Transfer. Each subsequent Curtailment shall be accumulated against the Parent Reservation and the Transfer. If the CCO Reservation is subject to a Resale or a short-term Redirect on a firm basis where the CCO criteria is to be applied to the Redirect service, all Curtailment accounting information shall be accumulated against Parent Reservation which was resold or redirected as if all service scheduled under the resold or redirected reservation(s) were scheduled against the Parent Reservation. The Transmission Provider shall set PRIMARY_PROVIDER_PROVISIONS to “Y” in each confirmed Resale or Redirect, if applicable, reservation made against capacity granted under a CCO Reservation. In response to a query issued for the cco OASIS Ttemplate, the cco OASIS Ttemplate response shall be identical for each of the applicable Redirect and/or Resale reservations as that returned for the Parent CCO Reservation. 013-2.6.2 RENEWAL Requests …. ROLLOVER_WAIVED; If the Transmission Customer does not wish a Long-Term Firm Point-to-Point Transmission Service request to be evaluated for conveyance of rollover rights, the Transmission Customer must submit the request with the ROLLOVER_WAIVED data element set to ‘Y’ in the transrequest OASIS Ttemplate.. CG_STATUS; If the Transmission Customer wishes this request to be a Coordinated Request associated with a Coordinated Group, the Transmission Customer must submit the request with the CG_STATUS data element set to PROPOSED in the transrequest OASIS Ttemplate.. …. If the Transmission Customer does not wish a long-term firm PTP Transmission Service request to be evaluated for conveyance of rollover rights, the Transmission Customer must submit the request with the ROLLOVER_WAIVED Data Element set to ‘Y’ in the transrequest OASIS Ttemplate. If the Transmission Customer wishes this request to be a Coordinated Request associated with a Coordinated Group, the Transmission Customer must submit the request with the CG_STATUS data element set to “PROPOSED” in the transrequest OASIS Ttemplate. Additional requirements on the handling of Coordinated Requests are specified in Business Practice Standard WEQ-013-2.6.9. 013-2.6.3 MATCHING Requests …. CG_STATUS; If the Transmission Customer wishes this request to be a Coordinated Request associated with a Coordinated Group, the Transmission Customer must submit the request with the CG_STATUS data element set to PROPOSED in the transrequest OASIS Ttemplate.. If the Transmission Customer wishes this request to be a Coordinated Request associated with a Coordinated Group, the Transmission Customer must submit the request with the CG_STATUS data element set to “PROPOSED” in the transrequest OASIS Ttemplate. Additional requirements on the handling of Coordinated Requests are specified in Business Practice Standard WEQ-013-2.6.9. 013-2.6.5.1 Redirect on a Firm Basis A Transmission Customer holding confirmed firm PTP rights may request the use of those rights on alternate PORs and/or PODs on a firm basis by submission of a Redirect request to the Transmission Provider as Seller. The following information must be submitted by the Transmission Customer in the Redirect request via the transrequest OASIS Ttemplate. …. CG_STATUS; If the Transmission Customer wishes this request to be a Coordinated Request associated with a Coordinated Group, the Transmission Customer must submit the request with the CG_STATUS data element set to PROPOSED in the transrequest OASIS Ttemplate.. …. The impact of the Redirect transaction on the reservation(s) identified by RELATED_REF shall be posted and viewable using the reduction OASIS Ttemplate. OASIS or Transmission Provider procedures shall also apply any outstanding conditions that may exist from the Parent CCO Reservation to the Redirect reservation, if applicable, (e.g., Number-of-Hours Criteria or System-Conditions Criteria) in accordance with Business Practice Standards WEQ-001-21.5.2.2.1 and WEQ-013-2.6.1.4 and any outstanding conditions shall be viewable using the cco OASIS Ttemplate. If the Redirect is eligible for the conveyance of rollover/renewal rights, these rights shall be communicated through the rollover OASIS Ttemplate Data Elements RENEWAL_DUE_TIME, ROLLOVER_ELIGIBLE, ROLLOVER_START_TIME, ROLLOVER_STOP_TIME, and ROLLOVER_CAPACITY. Conveyance of rollover rights to the Redirect request/reservation may have an impact on those rights held on the RELATED_REF reservation. These impacts on the RELATED_REF reservation shall be documented through an update to the rollover OASIS Ttemplate Data Elements ROLLOVER_ELIGIBLE, ROLLOVER_START_TIME, ROLLOVER_STOP_TIME, and ROLLOVER_CAPACITY associated with the RELATED_REF. If the Transmission Customer does not wish a firm request to Redirect on a firm basis to be evaluated for conveyance of rollover rights, the Transmission Customer must submit the request with the ROLLOVER_WAIVED Data Element set to ‘Y’ in the transrequest OASIS Ttemplate. If the Transmission Customer wishes this request to be a Coordinated Request associated with a Coordinated Group, the Transmission Customer must submit the request with the CG_STATUS data element set to “PROPOSED” in the transrequest OASIS Ttemplate. Additional requirements on the handling of Coordinated Requests are specified in Business Practice Standard WEQ-013-2.6.9. 013-2.6.5.2 Redirect on a Non-Firm Basis A Transmission Customer holding confirmed firm PTP rights may request the use of those rights on alternate PORs and/or PODs on a non-firm basis by submission of a Redirect request to the Transmission Provider as Seller. The following information must be submitted by the Transmission Customer in the Redirect request via the transrequest OASIS Ttemplate. …. The impact of the Redirect transaction on the reservation(s) identified by RELATED_REF shall be posted and viewable using the reduction OASIS Ttemplate. 013-2.6.6 Relinquish Requests The Relinquish request is submitted in association with a Redirect on a non-firm basis to indicate the Transmission Customer’s desire to return the capacity rights held on the Redirect to the Parent Reservation specified in the RELATED_REF of that Redirect request. The following are the specific requirements for the Relinquish request submitted via the transrequest OASIS Ttemplate. 013-2.6.7.1 Resale on OASIS Resale transactions conducted on OASIS shall adhere to the basic OASIS request processing requirements where the Reseller is identified as the Seller and the Assignee identified as the Transmission Customer. The Assignee (Transmission Customer) initiates the Resale of scheduling rights by submitting the following required information on OASIS via the transrequest OASIS Ttemplate. Data Elements not listed are optional. There shall be no requirement imposed by OASIS that the Reseller post any corresponding offer of Transmission Service for sale on that OASIS. …. The impact of the Resale transaction on the reservation(s) identified by REASSIGNED_REF shall be posted and viewable using the reduction OASIS Ttemplate. OASIS or Transmission Provider procedures shall also apply any outstanding conditions that may exist from the Reseller’s reservation to the Assignee’s reservation (e.g., Number-of-Hours Criteria or System-Conditions Criteria) in accordance with Business Practice Standard WEQ-013-2.6.1.4 and any outstanding conditions shall be viewable using the cco OASIS Ttemplate. 013-2.6.7.2 RESALE off OASIS Resale transactions arranged between Reseller and Assignee off OASIS must be documented on OASIS by the Reseller using the transassign OASIS Ttemplate. Transactions arranged off OASIS do not follow the basic request processing steps and shall be posted directly as confirmed transactions. …. The impact of the Resale transaction on the reservation(s) identified by REASSIGNED_REF shall be posted and viewable using the reduction OASIS Ttemplate. OASIS or Transmission Provider procedures shall also apply any outstanding conditions that may exist from the Reseller’s reservation to the Assignee’s reservation (e.g., Number-of-Hours Criteria or System-Conditions Criteria) in accordance with Business Practice Standard WEQ-013-2.6.1.4 and any outstanding conditions shall be viewable using the cco OASIS Ttemplate. 013-2.6.8.1 FULL_TRANSFER - Transfers of All Capacity …. The Transmission Provider may post a FULL_TRANSFER request directly on OASIS on behalf of the original Transmission Customer and Assignee after confirming the transaction with both parties using the transassign OASIS Ttemplate. The information required to be posted shall be identical to that posted for FULL_TRANSFERs conducted on OASIS. On confirmation of the FULL_TRANSFER, the IMPACTED attribute will be incremented for each of the Reseller’s reservations referenced by the REASSIGNED_REF Data Elements and the resulting impacts on each REASSIGNED_REF’s reserved capacity will be viewable with the reduction OASIS Ttemplate. OASIS must also update all subordinate Resale, Redirect, etc., transactions impacting the REASSIGNED_REF transaction(s) to reflect the transfer of those obligations to the Assignee under the new FULL_TRANSFER reservation. 013-2.6.8.2 PART_TRANSFER - Transfer of Partial Capacity …. On confirmation of the PART_TRANSFER, the IMPACTED attribute will be incremented for each of the original Transmission Customer’s reservations referenced by the REASSIGNED_REF Data Elements and the resulting impacts on each REASSIGNED_REF’s reserved capacity will be viewable with the reduction OASIS Ttemplate. 013-2.6.9 Coordinated Requests …. First, the Transmission Customer must submit each transmission request to be considered as a Coordinated Request using the transrequest OASIS Ttemplate with the CG_STATUS data element set to the value of PROPOSED. On successful submission, OASIS shall set the CG_DEADLINE data element to QUEUE_TIME plus 24 hours which may be viewed using the transstatus OASIS Ttemplate. This deadline timestamp reflects the time the Transmission Customer has to submit all transmission requests for consideration to the various Transmission Providers that service is to be coordinated on, and to identify those requests as a Coordinated Group associated with each individual Coordinated Request. All Coordinated Requests must be submitted with PRECONFIRMED set to YES. The identity of each Coordinated Request that comprises the Coordinated Group is submitted by the Transmission Customer via the cgupdate OASIS Ttemplate. One or more Coordinated Requests may be specified in the cgupdate OASIS Ttemplate submission using continuation records. Multiple submissions of the cgupdate OASIS Ttemplate may be made on OASIS to successively add additional Coordinated Requests to the Coordinated Group. Up to the CG_DEADLINE timestamp or when the Transmission Customer sets the Coordinated Request CG_STATUS to ATTESTED, the Transmission Customer may add, modify, or delete Coordinated Requests from the Coordinated Group. For a given Coordinated Request on a given Transmission Provider, as identified by the OASIS assigned ASSIGNMENT_REF data element, the Coordinated Group consists of all other Coordinated Requests submitted to the same or other Transmission Provider’s within the 24 hour submission deadline. That is, the Coordinated Group associated with a given Coordinated Request will not include that Coordinated Request; submission of a record to the Transmission Provider where the ASSIGNMENT_REF refers to the same request as the CR_PRIMARY_PROVIDER_CODE and CR_ASSIGNMENT_REF data elements will be returned as an error. The identification of the Coordinated Requests that comprise the Coordinated Group are added to the group by specifying the request’s CR_DISPOSITION with a value of PENDING. A request that has already been added to the Coordinated Group by mistake or that is withdrawn from consideration as a Coordinated Request prior to the CG_DEADLINE may be deleted from the group by submitting the cgupdate OASIS Ttemplate with the CR_PRIMARY_PROVIDER_CODE and CR_ASSIGNMENT_REF set to refer to the Coordinated Request to be deleted and specifying CR_DISPOSITION with the value of DELETED. To meet the contiguity requirements for a Coordinated Group, existing reservations may be associated with the Coordinated Group by specifying the CR_DISPOSITION of CONFIRMED on submission of the reservation’s identification via the cgupdate OASIS Ttemplate. Once all Coordinated Requests are submitted to their respective Transmission Provider’s OASIS nodes, and each Coordinated Request has their associated Coordinated Group information set in OASIS, the Transmission Customer must set each Coordinated Request’s CG_STATUS to ATTESTED using the transcust OASIS Ttemplate. This action must be performed prior to expiration of the CG_DEADLINE, and indicates that the Transmission Customer has attested that the Coordinated Group meets the contiguity requirements specified in Business Practice Standard WEQ-001-23.2.1. 013-3 SPECIFIC OASIS TEMPLATE IMPLEMENTATION 013-3.1 Registered OASIS Template Data Elements 013-3.2 scheduledetail The scheduledetail OASIS Ttemplate shall be used to query specific information posted by the Transmission Provider related to the scheduled usage of reserved Transmission Service. …. SECURITY_REF; Optional; If the reliability adjustment was the result of a security event that is posted on OASIS via the security OASIS Ttemplate, this shall be set to the OASIS unique identifier assigned to that posting. INITIATING_PARTY RESPONSIBLE_PARTY PROCEDURE_NAME PROCEDURE_LEVEL FACILITY_LOCATION FACILITY_NAME FACILITY_CLASS FACILITY_LIMIT_TYPE ANNOTATION; Optional; If the reliability adjustment was the result of a security event that is posted on OASIS via the security OASIS Ttemplate, these Data Elements will be reported as they appear in that associated security event posting. 013-3.3 systemdata The systemdata OASIS Ttemplate is designed to present time series data in an efficient form. It is an extensible template as the Data Elements SYSTEM_ELEMENT_TYPE and SYSTEM_ATTRIBUTE may take on Transmission Provider specific registered values for posting of data that is not already defined in the OASIS Data Dictionary. 013-3.3.1 ATC Related Query/Response Requirements …. Posting of ATC component data and narratives via the systemdata OASIS Ttemplate shall comply with all applicable regulations and Business Practices. The following are the systemdata OASIS Ttemplate Data Element requirements for providing ATC component data, i.e., TTC, CBM, FTRM, NFTRM, FATC or NFATC, FGF, or NFGF to the user: …. The following are the systemdata OASIS Ttemplate Data Element requirements for providing a brief, but specific, narrative explanation of the reason for a change in the monthly or yearly firm or non-firm ATC value on a constrained Posted Path when the monthly or yearly ATC value changes as a result of a 10 percent or greater change in the related posted TTC or TFC. …. The following are the systemdata OASIS Ttemplate Data Element requirements for providing a brief, but specific, narrative associated with yearly or monthly ATC values when either the posted firm or non-firm ATC remains unchanged at a value of zero (0) for six (6) months or longer. 013-3.3.2 System Load Related Query/Response Requirements …. The following table shows an example of the systemdata OASIS Ttemplate Data Element usage for providing information on load related data: 013-3.4 security The security OASIS Ttemplate is used to provide information related to changes in the transmission system that may impact reliability. The bulk of the Data Elements that comprise this template are identified as free-form text in the OASIS Data Dictionary to provide Transmission Providers with flexibility in posting different types of information in a structured fashion compatible with their operations and Business Practices. .Usage of the Data Elements within the security OASIS Ttemplate for providing information that may be made available by the Transmission Provider are provided as examples only. 013-3.4.1 Outage Query/Response Requirements The following is an example of the suggested usage of the security OASIS Ttemplate Data Elements for providing information related to Transmission Provider posting of outages. Note that posting of transmission related outages on OASIS is at the discretion of the Transmission Provider. 013-3.4.2 Curtailment Event Query/Response Requirements The following is an example of the suggested usage of the security OASIS Ttemplate Data Elements for providing information related to Transmission Provider posting of system conditions that may result in the Curtailment or interruption of Transmission Service. The example shown illustrates the data provided for a NERC TLR related event. Note that the actual Curtailment or impact of these events on schedules or Transmission Service reservations will be posted on OASIS and made available via the scheduledetail or reduction OASIS Ttemplates. 013-3.5 transoffering The transoffering OASIS Ttemplate allows the Transmission Customer to selectively query for Transmission Service offers posted by both the Transmission Provider and Resellers. Resellers control how their offerings are presented to the Transmission Customer through the specification of an OFFER_INCREMENT. Transmission Provider postings shall always have OFFER_INCREMENT set equal to SERVICE_INCREMENT. Transmission Service rights sold by the Reseller must correspond with the original rights acquired from the Transmission Provider. There is, however, no restriction on the term/increment of service that may be resold. The OFFER_INCREMENT Data Element controls when a Resellers capacity posted for Resale will be presented to the Transmission Customer via the transoffering OASIS Ttemplate. …. When queried by the Customer with a specified SERVICE_INCREMENT query parameter, OASIS shall return in the transoffering OASIS Template response all posted offers where SERVICE_INCREMENT or OFFER_INCREMENT matches any of the specified SERVICE_INCREMENT query values. 013-3.6 transpost/transupdate The transpost/transupdate OASIS Ttemplates allows a Transmission Customer (Reseller) to post or modify an offer to resell their reserved capacity on OASIS in a manner comparable to the offerings posted by the Transmission Provider. The service offered for Resale is dictated by the service held by the Transmission customer as defined in the SERVICE_INCREMENT, TS_CLASS, TS_TYPE, TS_PERIOD, TS_WINDOW, and TS_SUBCLASS Data Elements. However, the Transmission Customer may offer that service in any arbitrary increment of whole hours from hourly, to daily, to monthly, etc. The OFFER_INCREMENT Data Element controls when the Reseller’s Transmission Service offering will be returned to a user submitting the transoffering OASIS Ttemplate. For example, to post MONTHLY FIRM service reserved from the Transmission Provider as an HOURLY offering, the SERVICE_INCREMENT Data Element will be MONTHLY to correspond to the reserved service being resold and the OFFER_INCREMENT would be submitted as HOURLY. When queried by a user with SERVICE_INCREMENT=HOURLY, the transoffering OASIS Ttemplate would return all qualifying posted offerings from the Transmission Provider where SERVICE_INCREMENT=HOURLY and any resale offerings posted by Resellers where the OFFER_INCREMENT=HOURLY. To post that monthly capacity on a daily basis, the Reseller would submit another Transmission Service offering specifying the OFFER_INCREMENT=DAILY. The following table shows the specific template Data Element usage for the transpost/transupdate OASIS Ttemplates: 013-3.7 transstatus The transstatus OASIS Ttemplate provides the Transmission Customer with a view of transactions submitted on OASIS. OASIS shall be responsible for merging any transaction profile data submitted by the Transmission Customer (START_TIME, STOP_TIME, CAPACITY_REQUESTED, and BID_PRICE) or the Seller (START_TIME, STOP_TIME, CAPACITY_GRANTED, and OFFER_PRICE) into a single set of time profile data records consisting of START_TIME, STOP_TIME, CAPACITY_REQUESTED, BID_PRICE, CAPACITY_GRANTED, OFFER_PRICE, and CEILING_PRICE to be returned in the transstatus OASIS Ttemplate response. 013-3.8 reduction The reduction OASIS Ttemplate provides the Transmission Customer with a view of transactions or Transmission Provider actions which impact either the capacity available on a given Transmission Service reservation or the service Curtailment priority in effect for the reservation. Capacity impacts are due to transactions such as Redirects, Resales, Transfers, recalls, etc.; Curtailment priority impacts are due to criteria established in granting long-term firm service where firm Curtailment priority cannot be granted for all periods or under certain specific operating conditions as specified in the Transmission Customer’s service agreement. For a given Transmission Service request, there may never be two reduction OASIS Ttemplate response records that overlap in time. For any given interval in time, all transactions or Transmission Provider actions that impact the Transmission Service request over that interval shall be returned in one or more continuation records. …. If the Transmission Provider uses a Transmission Provider specific registered value for REDUCTION_TYPE, the registered value and a full description of how the value is used and the information returned in the reduction OASIS Ttemplate response must be posted on the Transmission Provider’s OASIS Home Page. An example of the reduction OASIS Ttemplate response is provided in Business Practice Standard WEQ-013-C Example 8. Example 4 - Example of Aggregating Purchased Services for Resale using Reassignment The following examples do not show the complete OASIS Ttemplate information, but only show the values assigned to those Data Elements in the OASIS Ttemplate that are important to the example. a. Transmission Customer #1, "BestE" requests the purchase of 20 MW DAILY FIRM PTP for May 7th and 8th for $1.00/MWday from Transmission Provider AAA (transrequest OASIS Template). TEMPLATE=transrequest CUSTOMER_CODE=BestE (Implied by the registered entity submitting the OASIS Ttemplate) …. b. Transmission Customer #1 purchases an additional 70 MW of DAILY FIRM PTP on the same path for May 8th for $1.05/MWday (transrequest OASIS Template). TEMPLATE=transrequest CUSTOMER_CODE=BestE (Implied by the registered entity submitting the OASIS Ttemplate) …. c. Transmission Customer #1 becomes Reseller #1 and posts an offer of Transmission Service of 50 MW of their DAILY FIRM PTP rights purchased above for Resale on an Hourly basis on May 8th from 7 a.m. to 11 p.m. at $.90/MW-hour. TEMPLATE=transpost SELLER_CODE=BestE (Implied by the registered entity submitting the OASIS Ttemplate) …. d. Transmission Customer #2 “Whlsle” then requests purchase of 35 MW firm from Reseller #1 from 8 a.m. to 5 p.m. for $0.90/MW-hour (transrequest OASIS Template). TEMPLATE=transrequest CUSTOMER_CODE=Whlsle SELLER_CODE=BestE (Implied by the registered entity submitting the OASIS Ttemplate) …. e. Seller (Reseller #1) informs the Transmission Provider of the reassignment of the previous Transmission Service rights when the Seller accepts the Transmission Customer purchase request (transsell OASIS Template). TEMPLATE=transsell SELLER_CODE=BestE (Implied by the registered entity submitting the OASIS Ttemplate) Example 5 - File Examples of the Use of Continuation Records a. Basic Continuation Records The first example of the use of Continuation Records is for the transrequest OASIS Ttemplate submitted by a Transmission Customer, “MOP” for purchase of a Transmission Service reservation spanning 16 hours from 06:00 to 22:00 with "ramped" demand at beginning and end of time period. Two additional reservation requests are also submitted in this request prior to and following the profile to demonstrate the handling of ASSIGNMENT_REF by the OASIS Node. The last request is for a purchase from a Reseller, “EFG”. …. b. Submission of Reassignment Information - Case 1: In the prior example (last Data Record in transrequest OASIS Template) a Resale reservation request was submitted to the Reseller “EFG” by the Transmission Customer for 20MW of DAILY FIRM PTP scheduling rights from 04:00 to 16:00. Assume that the Reseller has previously reserved service for the CEF-ECS path for DAILY FIRM PTP in amount of 50 MW on 4/23 under ASSIGNMENT_REF=23877019, and another 10 MW on April 23, 2007, under ASSIGNMENT_REF=23877880. Reseller must designate which Transmission Service rights are to be reassigned to Transmission Customer to satisfy the 20MW from 04:00 to 16:00. This reassignment information is conveyed by Reseller using the transsell OASIS Ttemplate when the reservation request is accepted. At the Seller's discretion, rights are assigned for the first four hours of the Resale from the first reservation (ASSIGNMENT_REF=23877019). The balance of the Resale is supported by 10 MWs from the second reservation first (ASSIGNMENT_REF=23877880) with the balance taken up by the first reservation (ASSIGNMENT_REF=23877019). This split of reassignment information is conveyed in "continuation" records via the transsell OASIS Ttemplate Data Elements REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. …. c. Submission of Reassignment Information - Case 2: If the Resale transaction from the previous example were conducted off-OASIS, the Seller, “EFG”, would use the transassign OASIS Ttemplate to post the transaction to OASIS. …. d. Query of Transmission Service Reservation Status: The following is a hypothetical response to a transstatus OASIS Template query that might be delivered for reservations starting on April 23, 2007. Example 6 - Examples of Negotiation of Price and Partial Service Offer Example 6a - Negotiation with Preconfirmation a. The Transmission Customer submits a preconfirmed Transmission Service request using the transrequest OASIS Ttemplate. Initially, the STATUS is set to QUEUED by the OASIS Node. b. The Seller has the option of setting STATUS via the transsell OASIS Ttemplate to one of the following: INVALID, RECEIVED, STUDY, COUNTEROFFER, CR_COUNTEROFFER, ACCEPTED, CR_ACCEPTED, DECLINED, or REFUSED. c. The Seller has the option of entering a CAPACITY_GRANTED and setting the STATUS to COUNTEROFFER or CR_COUNTEROFFER via the transell OASIS Ttemplate if the Seller can only provide Partial Service. d. If the Seller sets STATUS to ACCEPTED or CR_ACCEPTED (and, as required by Business Practice Standard WEQ-013-2.2, the OASIS Node forces the Seller to set OFFER_PRICE equal to BID_PRICE as a condition to setting STATUS to ACCEPTED or CR_ACCEPTED) and CAPACITY_GRANTED is equal to CAPACITY_REQUESTED, the OASIS Node will immediately set STATUS to CONFIRMED, except where the STATUS is CR_ACCEPTED the OASIS Node shall wait to set the transaction’s STATUS to CONFIRMED. (Business Practice Standard WEQ-013-2.2 requires the OASIS Node to set a null CAPACITY_GRANTED equal to CAPACITY_REQUESTED when STATUS is set to ACCEPTED or CR_ACCEPTED.) e. The Transmission Customer may withdraw request via transcust OASIS Ttemplate at any time up to point where the Seller sets STATUS to ACCEPTED or CR_ACCEPTED. f. Once the STATUS is CONFIRMED, the OFFER_PRICE and CAPACITY_GRANTED officially becomes the terms of the reservation. Example 6b - Negotiations without Preconfirmation a. The Transmission Customer submits a Transmission Service reservation request with the BID_PRICE less than the CEILING_PRICE via the transrequest OASIS Ttemplate. Initially the STATUS is set to QUEUED by the OASIS Node. b. The Seller has the option of setting the STATUS via the transsell OASIS Ttemplate to one of the following: INVALID, RECEIVED, STUDY, ACCEPTED, DECLINED, COUNTEROFFER, or REFUSED. If the STATUS is set to INVALID (due to invalid entries in the request), DECLINED (due to the Seller determining that the proposed price is not acceptable and further negotiations are not desired), or REFUSED (due to the unavailability of the requested service), the Transmission Service reservation request is terminated. c. The Seller has the option of entering a CAPACITY_GRANTED and setting the STATUS to COUNTEROFFER via the transell OASIS Ttemplate if the Seller can only provide Partial Service. d. If the Seller set the STATUS to RECEIVED or STUDY, and determines that the BID_PRICE is too low, the Seller sets the OFFER_PRICE to the price desired, and sets the STATUS to COUNTEROFFER via the transsell OASIS Ttemplate. e. The Transmission Customer agrees to the OFFER_PRICE, sets the BID_PRICE equal to the OFFER_PRICE, and sets the STATUS to CONFIRMED via the transcust OASIS Ttemplate. f. The OFFER_PRICE and CAPACITY_GRANTED with the STATUS of CONFIRMED locks in the terms of the reservation. Example 6c - Multiple Step Negotiations a. The Transmission Customer submits a Transmission Service reservation request with the BID_PRICE less than the CEILING_PRICE via the transrequest OASIS Ttemplate. Initially the STATUS is set to QUEUED by the OASIS Node. b. The Seller has the option of setting the STATUS via the transsell OASIS Ttemplate to one of the following: INVALID, RECEIVED, STUDY, ACCEPTED, CR_ACCEPTED, DECLINED, COUNTEROFFER, CR_COUNTEROFFER, or REFUSED. If the STATUS is set to INVALID, DECLINED, or REFUSED, the Transmission Service reservation request is terminated. c. The Seller has the option of entering a CAPACITY_GRANTED and setting the STATUS to COUNTEROFFER or CR_COUNTEROFFER via the transell OASIS Ttemplate if the Seller can only provide Partial Service. If ATC changes before the request reaches the STATUS of CONFIRMED, Seller may change the CAPACITY_GRANTED. d. The Seller determines that the BID_PRICE is too low, sets the OFFER_PRICE to the desired value, and sets the STATUS to COUNTEROFFER or CR_COUNTEROFFER via the transsell OASIS Ttemplate. e. The Transmission Customer responds to the new OFFER_PRICE with an updated BID_PRICE and sets the STATUS to REBID for re-evaluation by the Seller. f. The Seller determines that the BID_PRICE now is acceptable, and sets the STATUS to ACCEPTED or CR_ACCEPTED via the transsell OASIS Ttemplate. The transition to ACCEPTED or CR_ACCEPTED state requires the OFFER_PRICE to be set to the BID_PRICE: accepting a reservation with an OFFER_PRICE different from BID_PRICE would require the STATUS be set to COUNTEROFFER or CR_COUNTEROFFER rather than ACCEPTED or CR_ACCEPTED (see Business Practice Standard WEQ-013-4.1.6.3.c). g. The Transmission Customer agrees to the OFFER_PRICE and sets the STATUS to CONFIRM via the transcust OASIS Ttemplate. h. The OFFER_PRICE and CAPACITY_GRANTED with the STATUS as CONFIRMED locks in the terms of the reservation. Example 6d - Negotiations Declined by Seller a. The Transmission Customer submits a Transmission Service reservation request with the BID_PRICE less than the CEILING_PRICE via the transrequest OASIS Ttemplate. Initially the STATUS is set to QUEUED by the OASIS Node. b. The Seller has the option of setting the STATUS via the transsell OASIS Ttemplate to one of the following: INVALID, RECEIVED, STUDY, ACCEPTED, CR_ACCEPTED, DECLINED, COUNTEROFFER, CR_COUNTEROFFER, or REFUSED. If the STATUS is set to INVALID, DECLINED, or REFUSED, the Transmission Service reservation request is terminated. c. The Seller determines that the BID_PRICE is too low, sets OFFER_PRICE to his desired value, and sets STATUS to COUNTEROFFER or CR_COUNTEROFFER via the transsell OASIS Ttemplate. d. The Transmission Customer responds to OFFER_PRICE with updated BID_PRICE and sets the STATUS to REBID via the transcust OASIS Ttemplate for re-evaluation by Seller. e. The Seller breaks off all further negotiations by setting the STATUS to DECLINED, indicating that the price is unacceptable and that he does not wish to continue negotiations. Example 6e - Negotiations Withdrawn by Transmission Customer a. The Transmission Customer submits a Transmission Service reservation request with the BID_PRICE less than the CEILING_PRICE via the transrequest OASIS Template. Initially the STATUS is set to QUEUED by the OASIS Node. b. The Seller has the option of setting the STATUS via the transsell OASIS Ttemplate to one of the following: INVALID, RECEIVED, STUDY, ACCEPTED, CR_ACCEPTED, DECLINED, COUNTEROFFER, CR_COUNTEROFFER, or REFUSED. If the STATUS is set to INVALID, DECLINED, or REFUSED, the Transmission Service reservation request is terminated. c. The Seller has the option of entering a CAPACITY_GRANTED and setting the STATUS to COUNTEROFFER or CR_COUNTEROFFER via the transell OASIS Ttemplate if the Seller can only provide Partial Service. d. The Seller determines that the BID_PRICE is too low, sets the OFFER_PRICE to his desired value, and sets the STATUS to COUNTEROFFER or CR_COUNTEROFFER via the transsell OASIS Ttemplate. e. The Transmission Customer responds to the OFFER_PRICE with an updated BID_PRICE and sets the STATUS to REBID for re-evaluation by Seller. f. The Seller determines that the BID_PRICE is still too low, sets the OFFER_PRICE to another value, and sets STATUS to COUNTEROFFER or CR_COUNTEROFFER via the transsell OASIS Ttemplate. g. The Transmission Customer breaks off all further negotiations, either because the OFFER_PRICE or CAPACITY_GRANTED are unacceptable, by setting STATUS to WITHDRAWN (or the Transmission Customer/Seller could go through additional iterations of REBID/COUNTEROFFER/CR_COUNTEROFFER until negotiations are broken off or the reservation is confirmed). Example 6f - Negotiations Superseded by Higher Priority Reservation a. The Transmission Customer submits a Transmission Service reservation request with the BID_PRICE less than the CEILING_PRICE via the transrequest OASIS Ttemplate. Initially the STATUS is set to QUEUED by the OASIS Node. b. The Seller has the option of setting the STATUS via the transsell OASIS Ttemplate to one of the following: INVALID, RECEIVED, STUDY, ACCEPTED, CR_ACCEPTED, DECLINED, COUNTEROFFER, CR_COUNTEROFFER, or REFUSED. If the STATUS is set to INVALID, DECLINED, or REFUSED, the Transmission Service reservation request is terminated. c. If the Seller determines that another reservation has higher priority and must displace this request, he sets the STATUS of this request to SUPERSEDED and the negotiations are terminated. d. However, if desired and permitted by the tariff, the Seller may set the STATUS of a request in any of these previous states (including COUNTEROFFER, CR_COUNTEROFFER, ACCEPTED, and CR_ACCEPTED) to COUNTEROFFER or CR_COUNTEROFFER with an OFFER_PRICE which could avoid the request being superseded, thus allowing the Transmission Customer the choice of being SUPERSEDED or accepting the proposed OFFER_PRICE. Example 7 - Audit OASIS Template Examples The following examples are included to show the general type of audit report responses that could be expected to be returned by implementations of the audit reporting OASIS Ttemplates as documented above. …. Example 7b – Reservations …. First, this example shows the handling of continuation records which conveyed a time varying demand of 50 MW on August 1, 2007, 75 MW on August 18, 2007, and 100 MW on August 19, 2007. This demand profile was initially entered with the original reservation request (transrequest OASIS Ttemplate) at 12:15 on August 15, 2007, by Alan Trader. Example 8 - Reservation Reductions The following is an example of the reduction OASIS Ttemplate response format for a reservation, 123456, for one day of service at 50 MWs. Assume that 1) the Transmission Customer has redirected 20 MWs for that day on reservation 987654, 2) resold 10 MWs during the off-peak hours on reservation 345678, and 3) had service starting at 16:00 reduced in priority for two hours.

- Reason for of Minor Correction/Clarification:

To make consistency changes to the NAESB OASIS Business Practice Standards.

Minor clarifications and corrections to existing standards include: (a) clarifications or corrections made by a regulatory agency to standards that are of a jurisdictional nature, or by the American National Standards Institute or its successor; (b) clarifications or corrections to the format, appearance, or descriptions of standards in standards documentation; (c) clarifications or corrections to add code values to tables; and (d) clarifications and corrections that do not materially change a standard.