FORMAL COMMENTS

Quadrant:	Wholesale Electric Quadrant

Recommendation: 	WEQ 2010 AP Item 6 (b) / REQ Annual Plan Item 9(b); Requirements Specification for Common Scheduling Mechanism for Energy Transactions – for NIST PAP04

Submitted By:	Standards Review Subcommittee

Date:	April 2, 2010

Under the Standards Review Subcommittee (SRS) Scope of Work, which was approved by the SRS on March 6, 2008, the SRS agreed to review recommendations and if subcommittee deemed appropriate, they would submit advisory comments to the Executive Committee (EC) for consideration.  As stated in the Scope of Work these comments are “not intended to change the scope of the Business Practices or recommendation, but to provide consistency and uniformity across all WEQ Business Practices.”

It is the SRS understanding that the recommendation will be included as standards in the WEQ Business Practice Standards and will be filed with the Federal Energy Regulatory Commission (FERC). Therefore the SRS would like to point out inconsistencies between this recommendation and existing standards as well as a number of concerns specific to the recommendation itself.

It is also the SRS understanding that these comments may be reviewed by the Smart Grid Task Force.  The task force may review these comments, suggest modifications to the recommendation, and submit late comments for Executive Committee consideration.

WEQ-000

The terms and definitions do not seem to take into account existing definitions of terms and FERC Order 676-C which requested that NAESB resolve differences within its standards and differences between NERC and NAESB Standards.  Below are examples that illustrate inconsistencies with the definitions for the same term.

Facility -	NERC Definition  - A set of electrical equipment that operates as a single Bulk Electric System Element (e.g., a line, a generator, a shunt compensator, transformer, etc.)

Recommendation Definition – The location at which connection to the transmission or distribution system is made.

Load Serving Entity - 	Glossary Definition The responsible entity that secures energy and Transmission Service (and related Interconnection Operations Services) to serve the electrical demand and energy requirements of its end-use customer.

Recommendation Definition – A role which carries the responsibility of serving end-users and selling electric energy to end-users.

System Operator -	Demand Response Final Action – A System Operator is a Balancing Authority, Transmission Operator, or Reliability Coordinator, whose responsibility is to monitor and control an electric system in real time (based on NERC definition).  The System Operator is responsible for initiating Advance Notifications, Deployment and Release/Recall Instructions.

Recommendation Definition – An entity which carries the responsibility of administering the deman response process, from Resource enrollment to performance evaluation.

Within Definitions of terms there are capitalized terms which are not defined.  These include:

- Federal

- Awards

- Schedules

WEQ-016

- General

  - There are terms which are capitalized which are not defined in the WEQ Business Practice Standards such as “Demand Response Programs”, “Program Administrator”, “Market Closing”, “Absolute Interval”, Absolute Duration  and “Minimum Run Time”.

  - There are acronyms which are not defined such as “XML”, “IETF”, and “DER.”

- Executive Summary –  This recommendation along with the recommendations for PAP03 Requirements Specifications for Common Electricity Product and Pricing Definition and PAP09 Requirements Specifications for Wholesale Standard DR Signals each contain an Executive Summary listed under the “Recommended Standards” section of the recommendation. Based on the standards numbering it appears that all three recommendations will be included in a new set of standards, WEQ-016.

  - First, we question whether WEQ-016 should have an Executive Summary.  The only Business Practice Standards that have an executive summary is WEQ-014 (WEQ/WGQ eTariff Related Standards).  The WEQ-014 standards were approved prior to the SRS review of recommendations. (If the SRS had been reviewing standards at that time, we may have questioned having an Executive Summary in WEQ-014.)

  - Second, the Executive Summaries in the three recommendations though similar are not identical.  With the differences in the Executive Summaries and all three recommendations being included in WEQ-016 it is unclear how a single set of business practices can have three Executive Summaries.

If the EC decides to move forward with including an Excutive Summary, the SRS recommends that all capitalized terms and acronyms be included in WEQ-000.

An option the Smart Grid Task Force may want to consider is to create a separate Business Practice Standard for each PAP recommendation rather than combining them into a single recommendation.

The SRS understands that for this document OASIS is referencing the “Organization for the Advancement of Structured Information Standards.”  In the current WEQ Business Practices Standards when OASIS is mentioned it refers to the “Open Access Same-Time Information System.”  The task force may want to add some clarifying language so that others reading the recommendation understand that OASIS in this context refers to the organization not the system.

- Introduction – The SRS questions whether it is appropriate to include an “Assumptions” section in the WEQ Business Practice Standards.

## Assumptions:

- We assume as given that common semantics for communicating schedule, interval, and sequence will enhance interoperation between domains and between business entities.

The task force may want to consider re-naming this section to “Considerations” and place in an Appendix to the Business Practice Standards or move to Section 4.d of the recommendation form, “Commentary/Rationale of Subcommittee(s)/Task Force(s).”

- Section WEQ-016-1.1 through WEQ-016-1.1.1 – The standards do not have any text associatied with WEQ-016-1 or WEQ-016.1.1.  Other than section WEQ-016-1.1.1, there are no additional subsections that contain text.  Unless the task force plans to add addition subsections under and WEQ-016.1.1, they may want to consider moving WEQ-016-1.1.1 to WEQ-016.1.1.

Note: the Standards Review Subcommittee is also suggesting that Sections WEQ-016-1.2 through WEQ-016-1.2.1 be deleted. (See Below.)  If this happens then WEQ-016-1.1.1 could potentially be moved to WEQ-016-1.

- Section WEQ-16.1.1.1 – The term Demand Response Programs is not consistent with how it is formated sometimes it is “Demand Response Programs” and in one instance it is “Demand Response program”.  The term needs to be consistently formatted and also defined.

The SRS suggests that the incomplete but representative set of instances found in this section be moved to an Appendix. For the WEQ Business Practice Standards, examples are included in appendices rather than in the main body of the WEQ Business Pactice Standards.   Also, there are a number of capitalized terms which do not have definitions.  The SRS suggest to either lower case or provide definitions.

- Section WEQ-016-1.2 through WEQ-016-1.2.1 – The Standards Review Subcommittee recommends these sections be deleted.  All of the terms listed here were defined in the Business Practices for Measurement and Verification Wholesale Electricty Demand Response Business Practice Standards Final Action.  The WEQ Executive Committee made a decision to move to a common glossary so that terms are defined in one place WEQ-000.

Additionally the SRS has noticed inconsistencies between the descriptions listed here and the defintions included in the Business Practices for Measurement and Verification Wholesale Electricty Demand Response Business Practice Standards Final Action.   If the task force is intending to change the definitions for terms they should show the redlines to the approved definitions.  Below are terms that do not match what is approved in the WEQ Business Practices, which have been filed with the Federal Energy Regulatory Commission:

  - Baseline Window (missing sentence)

  - Demand Repsonse Event (changed System Operator to Program Administrator and Program Administrator is an undefined term)

  - Meter Data Reporting Deadline (definition has been modified slightly)

  - Normal Operations (changed System Operator to Program Administrator)

  - Performance Window (changed System Operator to Program Administrator)

  - Release/Recall (changed System Operator to Program Administrator)

  - Telemetry Interval (changed System Operator to Program Administrator)

- Appendix A – The Standards Review Subcommittee suggests the Abbreviations and Acronyms be deleted from the appendix and only listed in WEQ-000.  See comments under “Section WEQ-016-1.2 through WEQ-016-1.2.1” for additional rationale on the SRS suggestion.

The Figure 1 in the appendix has no explanation as to what it is and why it is included in the recommendation.  The Standards Review Subcommittee suggest that additional language be included so that users of the NAESB WEQ Business Practice Standards understand what is an Entity Relationship Model and what is important to know with this specific Entity Relationship Model.