## Slide 1: DER Data Considerations
May 22, 2025

## Slide 2: NERC SPIDERWG Activity

## Slide 3: NERC SPIDERWG
Reducing DER Variability and Uncertainty Impacts on the Bulk Power System
Battery Energy Storage and Multiple Types of Distributed Energy Resource Modeling
BPS Reliability Perspectives for Distributed Energy Resource Aggregators
Recommendations for Simulation Improvement and Techniques Related to DER Planning
Survey of DER Modeling Practices
NERC Reliability Standards Review
White Papers
Bulk Power System Planning Under Increasing Penetration of Distributed Energy Resources
DER Forecasting Practices and Relationship to DER Modeling for BPS Planning Studies
DER Data Collection and Model Verification of Aggregate DER
Parameterization of the DER_A Model for Aggregate DER
BPS Reliability Perspectives on the Adoption of IEEE 1547-2018
Reliability Guidelines
System Planning Impacts from DER Working Group, sub-group of RSTC
NERC Reliability and Security Guidelines

## Slide 4: NERC SPIDERWG Active Projects
Technical Reference Document: Clarity of DERs in Operational Planning Analysis and Real-Time Assessments
Reliability Guideline: Detection of Aggregate DER During Grid Disturbances
Reliability Guideline: Aggregate DER Conditions for Emergency Operations
Reliability Guideline Recommended Approaches for UFLS Program Design with Increasing Penetrations of DERs
White Paper: Modeling of DER Aggregator and DERMS Functional Impacts
SAR: PRC-006 Accounting for DER in UFLS
Last meeting: May 14-15
Next meetings: August 6-7, October 14-15

## Slide 5: NERC Standards Drafting Activity

## Slide 6: FERC Order 901
Order on reliability gaps related to Inverter-Based Resources (IBRs)
NERC broke the work into 3 Milestones with projects further dividing each one.
11/4/24 - IBR performance based on disturbance monitoring data requirements and post-event analytics.
11/4/25 - model and data sharing and validation based on performance.
11/4/26 - operational and planning studies to leverage performance data.

## Slide 7: 3 Projects
Work kicked off with a Technical Conference in January. First drafts of all standards are out, additional workshop June 3-5
2020-06 – Verification of Models and Data for Generators​ This group will define Model Validation and Model Verification as well as outlining the procedures to do so. Standards affected: MOD-026, MOD-027
2021-01 – System Model Validation with IBR’s​ This project is focused on comparing models against system behavior during disturbances. Standard affected: MOD-033
2022-02 – Uniform Modeling Framework for IBR​ This team will work to identify the modeling data and parameters required for a valid model. We are coordinating with NERC staff as they develop a model library that will be referenced. Standards affected: MOD-032, IRO-010, TOP-003
Milestone 3 has 3 Standard Drafting Teams selected to meet 901 directives.

## Slide 8: MOD-032 Revisions to Data Requirements
Dynamics
10. Aggregate Distributed Energy Resource (DER) data
a. DER capabilities related to momentary cessation, tripping, Ride-through, voltage control, and frequency control or information that can be used to infer those capabilities for modeling purposes.
b. indication whether DER is subject to tripping in conjunction with UFLS or UVLS.
Steady-state
9. Aggregate Distributed Energy Resource (DER) data
Location (each bus)
Real power capability
DER type (solar, battery, diesel generator, etc.)
Additions to Attachment 1
Initial ballot failed, next ballot expected in July/August.
Some comments about DER type in aggregated data
Some comments about capabilities in aggregated data

## Slide 9: Related Work

## Slide 10: Additional Industry Efforts
IEEE 1547-2018 / EPRI DERMUG / OpenDER
OpenADR Alliance
International Electrotechnical Commission (IEC) Common Information Model (CIM)
Cybersecurity Baselines for Electric Distribution Systems and DER – NARUC
  Rogue communication devices found in Chinese solar power inverters | Reuters
Possible Resources or Connection Points

## Slide 11: Evergy’s DER Repository

## Slide 12: DER Data Repository
Creating a single source of truth for Evergy DER data
Desire to consider existing devices for hosting capacity analysis and interconnection requests.
FERC Order 2222 allowing aggregations increases the need to understand DER behavior.
Varying data availability and quality.
Assumptions made as necessary.
DER Data Repository
Years of paper records
Past programs and pilots
Ongoing applications

## Slide 13: Data Fields
Prioritization based on legacy data collected
Critical
Location (address/meter/account)
Capacity (AC/DC)
Need
Capabilities (IEEE 1547 compliance, communication protocols)
Manufacturer
Want
Specific settings (fault current, ramp rate, power factor)
Meter location
Type (solar/wind/battery)
Contact
Model
Considered long-standing fields requested, key fields for analysis, NAESB WEQ BPS document

## Slide 14: Data Collection Process
All customers must submit interconnection request
Verified for completeness
Engineering Study
Completed interconnections trigger a synch to the DER Data Repository
Future: Working on connections to GIS and eventual FERC Order 2222 registration portal
Future: Aggregation study will require update to records for those devices connected before new mandatory fields