Use Case Considerations

- Identification of the use cases to define the registry purpose (static information/dynamic database)

  - Interconnection agreement status, tracking, and associated details

  - FERC Order No. 2222 purposes (entities, approval status, market participation, etc.)

  - Utility planning purposes on distribution system

  - Transmission planning

    - NERC MOD-032 Attachment 1 Table

  - Performance validation and settlements

  - Operational control (e.g., location of DERs, outages, grid services support, wholesale market participation

  - Supporting reliability

    - DER characteristics

    - DER capabilities

    - Services eligible to provide

  - Cybersecurity

    - Info needed to protect system

- Registry database that captures DER information that can be foundation to meet data needs within same system

  - Filters to pull information by need

  - Potential general data categories to house in registry:

    - Capability data

    - Configuration data

    - Commercial data

      - Aggregator and consumer registration

    - Controls data

      - Indication whether DERs are subject to tripping in conjunction with UFLS or UVLS

    - Conditions data

    - Double counting and duplication

    - Regulatory

      - State PUCs

      - Compliance

      - Retail participation and retail tariff

    - Entity relationships associated with DER operations and utilization

    - Classification of NERC MOD-032 Attachment 1 Table (aggregate DER data): Location (bus from item 1); Real power capability; DER type (solar, battery, diesel generator, etc.); parameters, settings, or capabilities related to momentary cessation, tripping, Ride-through, voltage control, and frequency control or information that can be used to infer those items for modeling purposes

- Consumer protections included as part of registry development

- Supporting business processes and practices