## Read Me First
The DER Registry spreadsheet proposed here is laid out to facilitate further discussion towards development of a NAESB DER Registry. The following framework is adopted:
1. The DER Registry Use Case document developed on the September 12, 2025 NAESB WEQ BPS call was used as the starting point.
2. The primary users of the Registry are assumed to be utilities facing proliferation of DERs in their footprint, including customer owned, utility-owned, Front of the Meter (FTM), Behind the Meter (BTM) DERs, and DER Aggregations formed by the utility or third-party Aggregators.
3. The secondary users are assumed to be Aggregators, and RTOs interacting with the utility (DSO) in the context of FERC Order 2222.
4. Recognizing the pre-operation, operation, and post-operation time frames, the primary focus of the first stage of the Registry laid out here is capturing all static DER and DER Aggregation (DERA or VPP) data that are relevant to pre-operation time frame. These include both technical and financial/commercial attributes of DERs and DER Aggregations.
5. Recognizing that dynamic data (such as battery state of charge, device status, etc.) are needed in the operation, and post operating time frames, placeholders are envisaged for dynamic data after the static data sets are agreed upon, as dynamic data pertain mostly to the changes in such operating parameters with time.

## DER Registry
|  | Use Cases | [7 empty] | Entities
Attributes |  | Interconnection Process | FERC 2222 Process | Distribution Planning | Transmission planning | Performance Validation and Settlements | Operational Control | System Reliability | Cyber Security & Data Privacy | Asset Owner / Operator | Aggregator | Distribution Utility (DSO) | Transmission / Bulk Power | Wholesale Market (ISO/RTO)
Capability Data
| Resource Type | X | X | X | X | X | X | X |  | X | X | X | X | X
| Resource Characteristics | X | X | X | X | X | X | X |  | X | X | X | X | X
| Operating Modes | X | X | X | X | X | X | X |  | X | X | X | X | X
| Metering & Telemetry | X | X |  |  | X | X | X |  | X | X | X | X | X
Configuration Data
| Interconnection Configuration | X |  | X | X |  |  | X |  | X |  | X | X
| Equipment Configuration | X |  | X | X |  |  | X |  | X | X | X | X
| Operating Constraints | X |  | X | X | X | X | X |  | X | X | X | X | X
Controls Data
| Control Capabilities | X | X | X | X |  | X | X |  | X | X | X | X | X
| Communication Capabilities | X | X | X | X |  | X | X |  | X | X | X | X | X
| Operating Requirements | X | X | X | X |  | X | X |  | X | X | X | X | X
| UFLS or UVLS Tripping | X |  | X | X |  | X | X
Location Data
| Utility (Wires Provider) | X | X | X | X | X | X | X |  | X | X | X | X | X
| Utility (Energy Provider) | X | X | X | X | X | X | X |  | X | X | X | X | X
| Electrical Location | X | X | X | X | X | X | X |  | X | X | X | X | X
| Physical Location | X | X |  |  | X |  |  |  | X | X | X
| Balancing Area | X | X | X | X | X | X | X |  |  | X | X | X | X
Commercial data
| Resource Classification | X | X | X | X | X | X | X |  | X | X | X | X | X
| Owner Information | X | X |  |  | X |  |  |  | X | X | X
| Operator Information | X | X |  |  |  | X |  |  | X | X | X
| Aggregator Information |  | X |  |  | X |  |  |  | X | X | X |  | X
| Commissioned Time | X | X | X | X |  |  | X |  | X |  | X | X
DER Aggregations- VPPs
| Aggregation Information |  | x | x | x | x | x | x |  |  | X | X | X | X
| Components |  | x | x | x |  | x | x |  |  | X | X
| Service Capabilities |  | x | x | x |  | x | x |  |  | X | X | X | X
| Approval Status |  | x | x |  |  |  | x |  |  | X | X | X | X
| Operating Entity |  | x | x | [5 empty] | X | X | X |  | X
| Effective Time |  | x | x | x |  | x | x |  | X | X | X |  | X
| Participation Model |  | x | x |  |  | x |  |  |  | X | X | X | X
Registrations
| Utility Program |  | X |  |  | X | X |  |  | X | X | X
| ISO/RTO Market |  | X |  |  | X | X |  |  |  | X | X | X | X
Regulatory
| Dual Participation Qualification |  | X |  |  | X |  |  |  |  | X | X |  | X
| State Jurisdiction/Retail Tariff | X | X |  |  | X |  |  |  | X | X | X
| ISO/RTO Jurisdiction |  | X |  |  | X |  |  |  | X | X | X | X | X